MEHRAN UNIVERSITY OF ENGINEERING

& TECHNOLOGY, SHAHEED Z.A BHUTTO

CAMPUS, KHAIRPUR MIR’S

TENDER DOCUMENTS

FOR

PROCUREMENT ON TURNKEY BASIS

OF DIESEL GENERATORS 100 – 130 kVA

At

MEHRAN UNIVERSITY OF ENGINEERING & TECHNOLOGY,

S.Z.A. BHUTTO CAMPUS, KHAIRPUR MIR’S

MAY - 2015

KAD Consultants

F-1, Zaib Residency, 70/72/1, Hussain Housing Scheme, Near

Summit Bank Wadhu Wah, Qasimabad Hyderabad

Ph: +92-22-2652274

Fax: +92-22-2652275

E-mail: kadconsultants@hotmail.com

Summary of Contents

| S. No. 1 | Subject Invitation for Bids………………………………………………… | Page No. 02 |
| --- | --- | --- |
| 2 | Instructions to Bidders & Bidding Data……………………….... | 04 |
| 3 | Form of Bid & Schedules of Bid…………………………………. | 25 |
| 4 | Conditions of Contract …………………………………………… | 39 |
| 5 | Contract Data …………………………………………………….. | 55 |
| 6 | Standard Forms…………………………………………………… | 61 |
| 7 | Specifications For Electrical Works …………………………….. | 74 |
| 8 | Special Notes ………………..…………………………………...... | 76 |
| 10 | Bill of Quantity ………………………………………………….... | 78 |

Sindh Public Procurement Regulatory Authority |  www.pprasindh.gov.pk                                   1

INVITATION FOR BIDS

MEHRAN UNIVERSITY OF ENGINEERING & TECHNOLOGY, SHAHEED ZULFIQAR ALI BHUTTO CAMPUS,

KHAIR PUR  MIR’S

Phone No.0243-9280314

No. PD/MUET/KHP/-127

Dated: 19-05-2015

INVITATION FOR BIDS

The tenders are invited on the sealed prescribed form from the Manufacturers or through their authorized dealers (with 3S – Sale, Service and Spare Facilities), Sole Distributors (with 3S – Sale, Service and Spare Facilities) and Sole Agents (with 3S – Sale, Service and Spare Facilities) for the supply, delivery, installation, putting in to operation and demonstration of Diesel Engine Generator on turnkey basis of the following capacity for Mehran University of Engineering and Technology, Shaheed Z.A Bhutto Campus Khairpur Mir’s.

| S# | Description | Bill of Quantities & Drawings | Last date of Purchase of Bids | Date & Time of Submission and Opening of Bids | Bidding Document Purchase Price | Earnest Money / Bid Security |
| --- | --- | --- | --- | --- | --- | --- |
|  | Procurement of Diesel Generators 100 – 130 KVA at MUET, Shaheed Z.A Bhutto Campus Khairpur Mir’s | Mentioned in Bidding Documents | Bids can be purchased from the date of publication of Tender till 08-06-2015 during office working hours | Sealed Bids should be dropped in the Tender Box on 09-06-2015 at 12.00 Noon and same will be opened in presence of Bidders at 1:00 P.M in the office of Project Director. | Rs. 3000 | 2% of Bid Cost |

The interested firms shall have to produce a proof of criteria having been Manufacturer / authorized dealer (with 3S – Sale, Service and Spare Facilities) / Sole Distributor (with 3S – Sale, Service and Spare Facilities) / Sole Agent (with 3S – Sale, Service and Spare Facilities) at the time of purchase of tender. The purchase will be financed out of the funds received from the Government of Sindh / Pakistan for the approved schemes of the University.

The tender documents including instructions to the Tenderers, terms & conditions, specifications and schedule of requirements can be downloaded from website of MUET and for participation in bid, it may be had from the office of the Project Director, Mehran University of Engineering & Technology, Shaheed Z.A Bhutto Campus Khairpur Mir’s, by mail or personally on any working day during office hours from 25.05.2015 to 08.06.2015 on payment of                    Rs. 3,000.00 & Rs. 3500.00 (Non-refundable and as per actual expenses) by mail respectively.

The sealed tender duly completed accompanied with the pay order in favor of Project Director, MUET, Shaheed Z.A Bhutto Campus Khairpur Mir’s, equivalent to 2% of the total bid cost as earnest money and will be received duly completed in duplicate and addressed to the Project Director, Mehran University of Engineering & Technology, MUET, Shaheed Z.A Bhutto Campus Khairpur Mir’s, Sindh, must reach him, or be dropped in the tender box placed in his office by 12. 00 Noon on 09.06.2015. The tenders will be opened on the same date at 1.00 PM in the presence of those Tenderers who so wish to be present. In case of public holiday on the day of opening, the next working day/time shall be date/time of opening of tender. The quantity of DG Sets as per bid above may be reduced as per availability of funds.

Any conditional tender or tender without/partial earnest money will not be considered in the competition. The Procurement Agency reserves the right as per SPPRA rules to reject any or all bids without any reason whatsoever.

PROJECT DIRECTOR MUET, SHAHEED Z.A BHUTTO CAMPUS KHAIRPUR MIR’S.

| Sindh Public Procurement Regulatory Authority ¦ www.pprasindh.gov.pk | 3 |
| --- | --- |

INSTRUCTIONS TO BIDDERS

& BIDDING DATA

Notes on the Instructions to Bidders

This section of the bidding documents should provide the information necessary for bidders to prepare responsive bids, in accordance with the requirements of the Procuring Agency. It should also give information on bid submission, opening and evaluation, and on the award of contract.

Matters  governing  the  performance  of  the  Contract  or  payments  under  the  Contract,  or matters affecting the risks, rights, and obligations of the parties under the Contract are not normally included in this Section, but rather in the appropriate sections of the Conditions of Contract and/or Contract Data.

TABLE OF CONTENTS

INSTRUCTIONS TO BIDDERS

Clause No.           Description                                                                   Page No.

A. GENERAL

IB.1                  Scope of Bid & Source of Funds………………………………… 6

IB.2                  Eligible Bidders………………………………………………….. 7

IB.3                  Cost of Bidding………………………………………………….. 11

B. BIDDING DOCUMENTS

IB.4                  Contents of Bidding Documents………………………………… 11

IB.5                  Clarification of Bidding Documents…………………………….. 12

IB.6                  Amendment of Bidding Documents…………………………….. 12

C- PREPARATION OF BID

IB.7                  Language of Bid…………………………………………………. 13

IB.8                  Documents Comprising the Bid…………………………………. 13

IB.9                  Sufficiency of Bid……………………………………………….. 13

IB.10                Bid Prices, Currency of Bid & Payment………………………… 14

IB.11                Documents Establishing Bidder‘s Eligibility and Qualifications... 14

IB.12                Documents Establishing Works Conformity to

Bidding Documents……………………………………………… 14

IB.13                Bidding Security…………………………………………………. 15

IB.14                Validity of Bids, Format, Signing and Submission of Bid………. 15

D-SUBMISSION OF BID

IB.15                Deadline for Submission, Modification & Withdrawal of Bids…. 16

E. BID OPENING AND EVALUATION

IB.16                Bid Opening, Clarification and  Evaluation……………………… 17

IB.17                Process to be Confidential………………………………………... 19

F. AWARD OF CONTRACT

IB.18                Qualification……………………………………………………... 20

IB.19                Award Criteria & Procuring Agency‘s Right……………………. 20

IB.20                Notification of Award & Signing of Contract Agreement………  20

IB.21                Performance Security……………………………………………. 21

IB.22                Integrity Pact…………………………………………………….. 21

INSTRUCTIONS TO BIDDERS

(Note:    (These  Instructions  to  Bidders  (IB)  along  with  Bidding  Data  will  not  be  part  of

Contract and will cease to have effect once the Contract is signed).

A.        GENERAL IB.1    Scope of Bid & Source of Funds

1.1       Scope of Bid

  - Mehran University of Engineering & Technology Shaheed Z. A. Bhutto Campus Khairpur Mir’s invites sealed bids on turnkey basis, from interested firms who are experienced and capable for supply, delivery, installation, putting into operation and demonstration of Diesel Engine Generators as specified in the Schedule of Requirements/ Bill of Quantities along with Technical Specifications. The Proposals are invited on TURNKEY BASIS, so that the conformity, similarity and resemblance of items / services could be aligned in a way to ensure smooth functionality of procuring agency by avoiding conflict of Interest among different bidders to the extent of “after-sale-support”. Therefore, Bidding firms must submit their BIDS for all items. In-case any bidding firm did not submit their bids for all items, their bid will be rejected forthwith.

  - A complete set of Bidding documents may be purchased by the interested eligible bidders on submission of a written application to Project Director MUET, Z.A. Bhutto Campus Khairpur Mir’s along with Tender Fee Rs. 3,000.00 (Rupees three Thousand only) on any working day from 10:00 am to 02:00 pm from 25.05.2015 to 08.06.2015 Or same can be downloaded from the website of SPPRA as well as from the website of MUET, Jamshoro. Bidders who intend to download Bid Documents from websites can send their application along with Tender Fee of PKR 3500/- (Rupees three thousands five hundreds only - non-refundable) (in shape of Pay Order) through Courier which shall be received three days prior to the date of opening of Bids (if such applications are not received their Bids will not be accepted / allowed / entertained to participate). These applications should reach to the Project Director, MUET, Z. A. Bhutto Campus, Khairpur Mir’s

  - A pre-bidding meeting will be held with the bidders on 5th  June 2015 at 12.00 Noon  in the office of Project Director or Pro-Vice Chancellor MUET, Z.A. Bhutto Campus Khairpur Mir’s for clarifications regarding TORs and BOQ and or anything else related to Bidding process or Specifications.

  - All bids must be accompanied by a Bid Security equal to 2% of their Financial Proposals in shape of Pay Order, Bank Guarantee / Demand Draft or Call Deposit.

  - Bids must be dropped in the tender box kept in the office of Project Director on 9th  June-2015 at 12.00 Noon. On same day the bids will be opened at 01.00 PM in the office of Project Director, MUET, SZAB Campus Khairpur Mir’s in presence of representative of Bidders who choose to attend and the members of procurement committee.

  - Conditional Bids, submitted through Fax, email, telegraph, not accompanied with bid security, Bids received after the specified date and time and the Bids submitted by the blacklisted firms will be rejected.

  - The process of procurement shall be completed through the following committees duly approved by competent authority of the University. (1) Procurement committee (2) Selection committee and (3) Approving / awarding committee.

  - MUET Z.A. Bhutto Campus Khairpur Mir’s reserves the right to reject all or any bid(s) subject to the relevant provisions of Sindh Public Procurement Rules 2010 as amended in 2013.

1.2       Source of Funds

Funds received from Govt of Sindh/ Govt of Pakistan for the approved schemes.

IB.2    Eligible Bidders

2.1	Bidding is open for all firms and persons meeting the following requirements. The eligible criteria is prepared in the light of SPPRA Rules 2010 (amended in 2013), the Guidelines by SPPRA, Works & Services and the guidelines by International Chamber of Commerce. The Bid document giving instruction to the interested bidding firms to prepare their proposals in the light of given criteria so that the fair and transparent competition of “apple vs apple” could be ensured. The purpose of the evaluation criteria is to evaluate, measure & assess the stature of bidding firms and their offers to safeguard the interest of procuring agency and public money, by filtering best of the best suppliers to have a very healthy competition among the firms.

- Manufacturers, their Manufacturer / authorized dealer (with 3S – Sale, Service and Spare Facilities) / Sole Distributor (with 3S – Sale, Service and Spare Facilities) / Sole Agent (with 3S – Sale, Service and Spare Facilities) those who are having “MAL” (Manufacturer’s Authorization Letter) are eligible to participate in the Bidding. MAL is required for major component of Equipment as mentioned in the BOQ/ Schedule of Items. MAL is compulsorily required for main components of Diesel Generating Sets viz Engine, Alternator, Exhaust System & Cooling System.. For rest items of DG Sets, Dealership / Authorization certificates will be accepted. Since this project is purely of a technical nature and will be awarded on turnkey basis however those bidders who are not having MAL will not be considered. 15 marks for MAL. The Manufacturer’s Authorization Letter for this project is required to ensure after-sale-support from the Manufacturer and assurance of supply of genuine parts/ material.

- Bidders who are experienced and capable to handle such type of projects as mentioned in the Schedule of items / Bill of Quantities, and are technically sound with proven track record are eligible to participate in the bidding process. MUET ZAB will assess the Bidders who are well conversant with MUET ZAB’s existing electrical power distribution network will be given 15 Marks. For this purpose bidders are required to submit their Description/ Report(s).

- Bidders who are active in Business since last 03 years or more are eligible to participate in the tendering process. Their existence in the business will be assessed from the Registration Certificates issued by FBR. Total 10 marks (1 Mark for per year). The Registration date will also be verified from FBR’s website & print will be taken as evidence to confirm document submitted by bidder.

- Similarly Bidders Name & Address will also be verified from “Tax Facilitation Portal profile from FBR Website”. Bidders are required to submit a printed copy of their “Tax Facilitation Portal profile” from FBR’s website. The Bidder’s address should be same as mentioned on FBR’s “Tax Facilitation Portal profile”. Bidders whose address is different than the address as mentioned on “Tax Facilitation Portal profile” will be given no mark during evaluation. The Procurement Committee may/can physically verify Bidder’s office address. There are total 15 Marks. (10 Marks will be given if firm’s office is situated at the same place as is declared in FBR Portal. No Marks if the Bidding firm’s address is at different place from the declared address with FBR. 05 marks if office is owned by the Bidding Firm. 02 Marks if office is owned by its proprietor. 01 marks if the office is on rent). Bidders are required to Provide (Property Lease / Sub lease / Sale Dead /Tenancy Agreement). NO Marks if bidder fails to provide required documents.

- Bidders should be registered firms and shall provide NTN Certificate, GST Certificate, SRB Certificate, SECP Certificate, CHAMBER Certificate, Labour Department Registration Certificate. (2 mark per certificate total 10 Marks)

- Bidder should have successfully completed minimum 5 projects of such type and the sum of all these projects should be equal or greater value than 10Million. 2 marks for each project (total 10 marks). The bidder should provide photocopies of Job Orders and their completion Certificates with Name and contact numbers of the Organization and person for verification.

- Bidders should be Financially Sound and their worthiness should be at least equal to the cost of project. Since the worth of this project is estimated greater than 15.00 Million. However  bidders are required to provide following documents for assessment of their Financial capability:

1.	Clear and readable attested photocopy of Bank Statements for three to five years up to 31st March 2015, showing turnover of three to five years at least 10 Million. (1 mark per 2.0 Million total 5 marks)

2.	Five years Annual Income Tax Return 2010 to 2014, showing Annual income Tax paid should be greater than 0.5 Million. (1 mark per 0.5 Million Tax paid total 8 marks)

3.	Three years Wealth Statement from 2012 to 2014 of Bidding firm or the proprietor / Partners / Directors of bidding firm, showing wealth nearly 3.0 Million. (2 marks per 3.0 million wealth total 6 marks.)

4.	Three years Sales Tax Returns (Jan 2012 to Dec 2014) Showing Sales turnover at least 3.6 Million for three years. (1 Mark per 1.2 Million total 8 marks)

5.	Bidder should provide Tax Assessment Order / Tax clearance Certificate till June 2013 or 2014. (7 marks)

- Bidders should have qualified, skilled and trained staff. The bidding firm should provide details of their qualified staff such as Name, qualification, Designation and responsibility of employee in bidding firm’s organization, Mobile Phone Number, email address, and date of employment. Attach employees CVs and copies of CNICs. If the Bidding Firm is Private Limited then the number of employees should be 16, if the Bidding firm is Partnership then the number of employee should be 10, if the Bidding firm is Proprietorship then the number of employees should be 8. (1 mark for 2 employees total 10 marks) will be given if Bidder provides required details, and all these should be registered under Labour Law with Sindh Labour Department as per law of land.

- The Bidding firms should either be Proprietorship, Partnership and or Private Limited. 10 Marks if the bidding firm is Private limited (provide attested copy of Memorandum of Articles), 7 marks if the Bidding firm is Partnership firm (provide attested photocopy of partnership dead) and 5 marks if the bidding firm is Proprietorship firm (provide attested copy of CNIC of proprietor.

- Bidders technical proposals which are substantially responsive to the requirement of MUET, Z.A. Bhuttto Campus Khairpur Mir’s will be eligible. 20 Marks will be given to the most responsive offer. Deviation in specifications will be rejected.

2.2	Government-owned enterprises in Pakistan may participate only if they are legally and financially autonomous and operate under commercial law, can participate in bidding and meeting the above mentioned requirements.

2.3	Bidders under a declaration of ineligibility for corrupt and fraudulent practices issued by any Government (Federal, Provincial or Local) or a public sector organization are NOT ELIGIBLE

The evaluation will be based on “Quality Based Selection Method” as the project is of a highly Technical and Complex nature and the quality is the only factor to be taken into consideration. In the light of SPPRA Rule 49, Technical Bids will be given 80% weight whereas Financial Bids will be given 20% weight. Weight will be calculated under this formula =(100-((Total Marks – Marks Secured)÷Highest Marks x 100))x0.8 and financial bids will be calculated as this = (100-(Quoted Bid-Lowest Bid) ÷Lowest Bid*100)*0.20 The sum of highest scoring firm will be considered as most responsive and lowest evaluated bid.

IB.3    Cost of Bidding

3.1	The bidder shall bear all costs associated with the preparation and submission of its bid and the MUET, Z.A. Bhutto Campus Khairpur Mir’s will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

B.        BIDDING DOCUMENTS IB.4    Contents of Bidding Documents

### IB.4 	Contents of Bidding Documents

4.1	In addition to Invitation for Bids, the Bidding Documents are those stated below, should be read in conjunction with any Addendum issued accordingly

  - Instructions to Bidders & Bidding Data

  - Form of Bid, Qualification Information & Schedules to Bid Schedules to Bid comprise the following:

- Schedule A: Bill of Quantities (BoQ)  & Specifications

- Schedule F: Integrity Pact.

  - Conditions of Contract & Contract Data

  - Standard Forms:

- Form of Bid Security.

- Form of Performance Security;

- Form of Contract Agreement;

- Form of Bank Guarantee for Advance Payment.

IB.5    Clarification of Bidding Documents

5.1	A prospective bidder requiring any clarification(s) in respect of the Bidding Documents may notify to the Project Director  MUET, Z.A. Bhuttto Campus Khairpur Mir’s Phone: (0243) 9280314 or (024) 371-5365  during Pre-Bid Conference/  Meeting.

5.2	An interested bidder, who has obtained bidding documents, may request for clarification of contents of bidding documents in writing to Project Director  MUET, Z.A. Bhuttto Campus Khairpur Mir’s who shall respond to such quarries in writing within three calendar days, provided they are received at least five calendar days prior to the date of opening of bid (SPP Rule 23-1).

IB.6    Amendment of Bidding Documents (SPP Rules 22(2) & 22).

6.1	At any time prior to the deadline for submission of Bids, the Procuring Agency may, for any reason, whether at his own initiative or in response to a clarification requested by a interested  bidder, modify the Bidding Documents by issuing addendum.

6.2	Any addendum thus issued shall be part of the Bidding Documents pursuant to Sub- Clause 6.1 hereof, and shall be communicated in writing to all purchasers of the Bidding Documents. Prospective bidders shall acknowledge receipt of each addendum in writing to the Procuring Agency.

6.3	To afford interested  bidders reasonable time in which to take an addendum into account in preparing their Bids, the Procuring Agency may at its discretion extend the deadline for submission of Bids.

C.        PREPARATION OF BIDS IB.7    Language of Bid

7.1     All documents relating to the Bid shall be in the language specified in the Contract Data.

IB.8    Documents Comprising the Bid

8.1	The Bid submitted by the bidder shall comprise the following: (a)       Offer /Covering Letter

(b)       Form of Bid duly filled, signed and sealed, in accordance with IB.14.3.

(c)       Schedules  (A  to  F)  to  Bid  duly  filled  and  initialed,  in  accordance  with  the instructions contained therein & in accordance with IB.14.3.

(d)      Bid Security furnished in accordance with IB.13.

(e)      Power of Attorney in accordance with IB 14.5.

(f)       Documentary evidence in accordance with IB.2(c) & IB.11 (g)       Documentary evidence in accordance with IB.12.

IB.9    Sufficiency of Bid

9.1     Each bidder shall satisfy himself before Bidding as to the correctness and sufficiency of his Bid and of the premium on the rates of CSR / rates and prices quoted/entered in the Schedule  of Prices,  which  rates  and  prices  shall  except  in  so  far as it is otherwise expressly provided in the Contract, cover all his obligations under the Contract and all matters and things necessary for the proper completion of the works.

9.2	The  bidder  is  advised  to  obtain  for  himself  at  his  own  cost  and  responsibility  all information that may be necessary for preparing the bid and entering into a Contract for execution of the Works.

IB.10  Bid Prices, Currency of Bid and Payment

10.1	The  bidder  shall  fill  up  the  Schedule  of  Prices  (Schedule  A  to  Bid)  indicating  the percentage above or below the Composite Schedule of Rates/unit rates and prices of the Works to be performed under the Contract. Prices in the Schedule of Prices/Bill of Quantities shall be quoted entirely in Pak Rupees keeping in view the instructions contained in the Preamble to Schedule of Prices.

10.2	Unless otherwise stipulated in the Conditions of Contract, prices quoted by the bidder shall remain fixed during the bidder‘s performance of the Contract and not subject to variation on any account.

10.3	The unit rates and prices in the Schedule of Prices or percentage above or below on the composite schedule of rates shall be quoted by the bidder in the currency as stipulated in Bidding Data.

10.4	Items for which no rate or price is entered by the Bidder will not be paid for by the Procuring Agency when executed and shall be deemed covered by the other rates and prices in the Bill of Quantities.

IB.11  Documents Establishing Bidder’s Eligibility and Qualifications

11.1	Pursuant to Clause IB.8, the bidder shall furnish, as part of its bid, documents establishing the bidder‘s eligibility to bid and its qualifications to perform the Contract if its bid is accepted.

11.2	Bidder  must  possess  and  provide  evidence  of  its  capability  and  the  experience  as stipulated in Bidding Data and the Qualification Criteria mentioned in the Bidding Documents.

IB.12  Documents Establishing Works’ Conformity to Bidding Documents

12.1	The documentary evidence of the Works‘ conformity to the Bidding Documents may be in the form of literature, drawings and data and the bidder shall furnish documentation as set out in Bidding Data.

12.2	The  bidder  shall  note  that  standards for workmanship,  material  and  equipment,  and references to brand names or catalogue numbers,   if any, designated by the Procuring Agency in the Technical Provisions are intended to be descriptive only and not restrictive.

IB.13  Bid Security

13.1	Each bidder shall furnish, as part of his bid, at the option of the bidder, a Bid Security as percentage of bid price/estimated cost or in the amount stipulated in Bidding Data in Pak. Rupees in the form of Deposit at Call/ Payee’s Order or a Bank Guarantee issued by a Scheduled Bank in Pakistan in favour of the Procuring Agency valid for a period up to twenty eight (28) days beyond the bid validity date (Bid security should not be below

1%.and not exceeding 5% of bid price/estimated cost SPP Rule 37).

13.2     Any bid not accompanied by an acceptable Bid Security shall be rejected by the Procuring

Agency as non-responsive.

13.3	The bid securities of unsuccessful bidders will be returned upon award of contract to the successful bidder or on the expiry of validity of Bid Security whichever is earlier.

13.4	The Bid Security of the successful bidder will be returned when the bidder has furnished the required Performance Security, and signed the Contract Agreement (SPP Rule 37).

13.5     The Bid Security may be forfeited:

(a)       if a bidder withdraws his bid during the period of bid validity; or

(b)       if a bidder does not accept the correction of his Bid Price, pursuant to Sub-Clause

16.4 (b) hereof; or

(c)       in the case of a successful bidder, if he fails within the specified time limit to:

(i)        furnish the required Performance Security or

(ii)       sign the Contract Agreement.

IB.14  Validity of Bids, Format, Signing and Submission of Bid

14.1	Bids shall remain valid for the period stipulated in the Bidding Data after the date of bid opening.

14.2    In exceptional circumstances, Procuring Agency may request the bidders to extend the period of validity for a additional period but not exceeding 1/3 of the original period.The request and the bidders‘ responses shall be made in writing or by cable.  A Bidder may refuse the request without forfeiting the Bid Security.  A Bidder agreeing to the request will not be required or permitted to otherwise modify the Bid, but will be required to extend the validity of Bid Security for the period of the extension, and in compliance with IB.13 in all respects (SPP Rule 38).

14.3     All Schedules to Bid are to be properly completed and signed.

14.4     No alteration is to be made in the Form of Bid except in filling up the blanks as directed.

If any alteration be made or if these instructions be not fully complied with, the bid may be rejected.

14.5     Each bidder shall prepare Original and number of copies specified in the Bidding Data of the  documents  comprising  the  bid  as  described  in  IB.8  and  clearly  mark  them

―ORIGINAL‖ and ―COPY‖ as appropriate. In the event of discrepancy between them, the

original shall prevail.

14.6     The original and all copies of the bid shall be typed or written in indelible ink and shall be signed by a person or persons duly authorized to sign (in the case of copies, Photostats are also  acceptable). This  shall  be indicated by submitting a  written Power of Attorney authorising the signatory of the bidder to act for and on behalf of the bidder. All pages of the bid shall be initialed and official seal be affixed by the person or persons signing the bid.

14.7     The Bid shall be delivered in person or sent by registered mail at the address to Procuring

Agency as given in Bidding Data.

D. SUBMISSION OF BID

IB.15  Deadline for Submission, Modification & Withdrawal of Bids

15.1	Bids must be received by the Procuring Agency at the address/provided in Bidding Data not later than the time and date stipulated therein.

15.2     The inner and outer envelopes shall

(a)       be addressed to the Procuring Agency at the address provided in the Bidding Data; (b)       bear the name and identification number of the Contract as defined in the Bidding

and Contract Data; and

(c)       provide a warning not to open before the specified time and date for Bid opening as defined in the Bidding Data.

(d)	in addition to the identification required in 15.2, the inner envelopes shall indicate the name and address of the Bidder to enable the Bid to be returned unopened in case it is declared late.

(e)       If the outer envelope is not sealed and marked as above, the Procuring Agency will assume no responsibility for the misplacement or premature opening of the Bid.

15.3     Bids submitted through telegraph, telex, fax or e-mail shall not be considered.

15.4     Any bid received by the Procuring Agency after the deadline for submission prescribed in

Bidding Data will be returned unopened to such bidder.

15.5	Any bidder may modify or withdraw his bid after bid submission provided that the modification or written notice of withdrawal is received by the Procuring Agency prior to the deadline for submission of bids.

15.6	Withdrawal of a bid during the interval between the deadline for submission of bids and the expiration of the period of bid validity specified in the Form of Bid may result in forfeiture of the Bid Security pursuant to IB.13.5 (a).

E.        BID OPENING AND EVALUATION

IB.16  Bid Opening, Clarification and Evaluation (SPP Rules 41, 42 & 43)

16.1     The Procuring Agency will open the bids, in the presence of bidders‘ representatives who

choose to attend, at the time, date and in the place specified in the Bidding Data.

16.2	The bidder‘s name, Bid Prices, any discount, the presence or absence of Bid Security, and such other details as the Procuring Agency at its discretion may consider appropriate, will be announced by the Procuring Agency at the bid opening. The Procuring Agency will record the minutes of the bid opening. Representatives of the bidders who choose to attend shall sign the attendance sheet.

Any Bid Price or discount which is not read out and recorded at bid opening will not be taken into account in the evaluation of bid.

16.3	To assist in the examination, evaluation and comparison of Bids the Engineer/Procuring Agency may, at its discretion, ask the bidder for a clarification of its Bid. The request for clarification and the response shall be in writing and no change in the price or substance of the Bid shall be sought, offered or permitted (SPP Rule 43).

16.4	(a)       Prior    to    the    detailed    evaluation,    pursuant    to    IB.16.7    to    16.9,    the Engineer/Procuring Agency will determine the substantial responsiveness of each bid to the Bidding Documents. For purpose of these instructions, a substantially responsive bid is one which conforms to all the terms and conditions of the Bidding Documents without material deviations. It will include determining the requirements listed in Bidding Data.

(b)       Arithmetical errors will be rectified on the following basis:

If there is a discrepancy between the unit price and total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If there is a discrepancy between the words and figures the amount in words shall prevail. If there is a discrepancy between the Total Bid price entered in Form of Bid and the total shown in Schedule of Prices-Summary, the amount stated in the Form of Bid will be corrected by the Procuring Agency in accordance with the Corrected Schedule of Prices.

If the bidder does not accept the corrected amount of Bid, his Bid will be rejected and his Bid Security forfeited.

16.5	A  Bid  determined  as  substantially  non-responsive  will  be  rejected  and  will  not subsequently be made responsive by the bidder by correction of the non-conformity.

16.6	Any  minor  informality  or  non-conformity  or  irregularity  in  a  Bid  which  does  not constitute a material deviation (major deviation) may be waived by Procuring Agency,

provided such waiver does  not  prejudice or affect  the relative ranking of any other bidders.

(A). Major (material) Deviations include:-

(i)        has been not properly signed;

(ii)       is not accompanied by the bid security of required amount and manner; (iii)      stipulating price adjustment when fixed price bids were called for;

(iv)      failing to respond to specifications;

(v)       failing to comply with Mile-stones/Critical dates provided in Bidding Documents; (vi)      sub-contracting contrary to the Conditions of Contract specified in Bidding

Documents;

(vii)     refusing to bear important responsibilities and liabilities allocated in the Bidding

Documents, such as performance guarantees and insurance coverage;

(viii)	taking exception to critical provisions such as applicable law, taxes and duties and dispute resolution procedures;

(ix)      a material deviation or reservation is one :

(a) which affect in any substantial way the scope, quality or performance of the works;

(b) adoption/rectification whereof would affect unfairly the competitive position of other bidders presenting substantially responsive bids.

(B) Minor Deviations

Bids that offer deviations acceptable to the Procuring Agency and which can be assigned a monetary value may be considered substantially responsive at least as to the issue of fairness. This value would however be added as an adjustment for evaluation purposes only during the detailed evaluation process.

16.7	The  Engineer/Procuring Agency will  evaluate and  compare only the  bids  previously determined to be substantially responsive pursuant to IB.16.4 to 16.6 as per requirements given hereunder. Bids will be evaluated for complete scope of works. The prices will be compared on the basis of the Evaluated Bid Price pursuant to  IB.16.8 herein below.

Technical Evaluation: It will be examined in detail whether the works offered by the bidder complies with the Technical Provisions of the Bidding Documents. For this purpose, the bidder‘s data submitted with the bid in Schedule B to Bid will be compared with technical features/criteria of the works detailed in the Technical Provisions.  Other  technical  information  submitted  with  the  bid  regarding  the Scope of Work will also be reviewed.

16.8     Evaluated Bid Price

In evaluating the bids, the Engineer/Procuring Agency will determine for each bid in addition to the Bid Price, the following factors (adjustments) in the manner and to the extent indicated below to determine the Evaluated Bid Price:

(i)        making any correction for arithmetic errors pursuant to IB.16.4 hereof.

(ii)       discount, if any, offered by the bidders as also read out and recorded at the time of bid opening.

(iii)      excluding provisional sums and the provisions for contingencies in the Bill of

Quantities if any, but including Day work, where priced competitively.

IB.17  Process to be Confidential

17.1	Subject to IB.16.3 heretofore, no bidder shall contact Engineer/Procuring Agency on any matter relating to its Bid from the time of the Bid opening to the time the bid evaluation result is announced by the Procuring Agency. The evaluation result shall be announced at least seven (07) days prior to award of Contract (SPP Rule 45). The announcement to all bidders will include table(s) comprising read out prices, discounted prices, price adjustments made, final evaluated prices and recommendations against all the bids evaluated.

17.2	Any effort by a bidder to influence Engineer/Procuring Agency in the Bid evaluation, Bid comparison or Contract Award decisions may result in the rejection of his Bid. Whereas any bidder feeling aggrieved, may lodge a written complaint to Complaint Redressal Committee as per terms and conditions mentioned in SPP Rules 31 & 32. However, mere fact of lodging a complaint shall not warrant suspension of procurement process.

17.3      Bidders may be excluded if involved in “Corrupt and Fraudulent Practices” means either one or any combination of the practices given below SPP Rule2(q);

(i) ―Coercive Practice‖ means any impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence the actions of a party to achieve a wrongful gain or to cause a wrongful loss to another party;

(ii)  ―Collusive  Practice‖  means  any  arrangement  between  two  or  more  parties  to  the procurement process or contract execution, designed to achieve with or without the knowledge of the procuring agency to establish prices at artificial, noncompetitive levels for any wrongful gain; (iii) “Corrupt Practice” means the offering, giving, receiving or soliciting, directly or indirectly, of anything of value to influence the acts of another party for wrongful gain;

(iv) ―Fraudulent Practice” means any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation;

(v) “Obstructive Practice” means harming or threatening to harm, directly or indirectly, persons or their property to influence their participation in a procurement process, or affect the execution of a contract or deliberately destroying, falsifying, altering or concealing of

evidence material to the investigation or making false statements before investigators in order to materially impede an investigation into allegations of a corrupt, fraudulent, coercive or collusive practice; or threatening, harassing or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation, or acts intended to materially impede the exercise of inspection and audit rights provided for under the Rules.

IB.18. Post Qualification

F.        AWARD OF CONTRACT

18.1	The Procuring Agency, at any stage of the bid evaluation, having credible reasons for or prima facie evidence of any defect in contractor‘s capacities, may require the contractors to provide information concerning their professional, technical, financial, legal or managerial competence whether already pre-qualified or not:

Provided, that such qualification shall only be laid down after recording reasons therefore in writing. They shall form part of the records of that bid evaluation report.

18.2     The determination will take into account the bidder‘s financial and technical capabilities.

It  will  be  based  upon  an  examination  of  the  documentary evidence  of  the  bidders‘ qualifications submitted under B.11, as well as such other information required in the Bidding Documents.

IB.19  Award Criteria & Procuring Agency’s Right

19.1	Subject to IB.19.2, the Procuring Agency will award the Contract to the bidder whose bid has been determined to be substantially responsive to the Bidding Documents and who has offered the lowest evaluated Bid Price, provided that such bidder has been determined to be qualified to satisfactory perform the Contract in accordance with the provisions of the IB.18.

19.2	Not withstanding IB.19.1, the Procuring Agency reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids, at any time prior to award of Contract, without thereby incurring any liability to the affected bidders or any obligation to inform the affected bidders of the grounds for the Procuring Agency‘s action except that the grounds for its rejection of all bids shall upon request be communicated, to any bidder who submitted a bid, without justification of the grounds. Notice of the rejection of all the bids shall be given promptly to all the bidders (SPP Rule 25).

IB.20  Notification of Award & Signing of Contract Agreement

20.1	Prior to expiration of the period of bid validity prescribed by the Procuring Agency, the Procuring Agency will notify the successful bidder in writing (―Letter  of Acceptance‖) that his bid has been accepted (SPP Rule 49).

20.2	Within seven (07) days from the date of furnishing of acceptable Performance Security under the Conditions of Contract, the Procuring Agency will send the successful bidder the Form of Contract Agreement provided in the Bidding Documents, incorporating all agreements between the parties.

20.3	The formal Agreement between the Procuring Agency and the successful bidder duly stamped at rate of ----% of bid price(updated from time to time) stated in Letter of Acceptance shall be executed within seven (07) days of the receipt of Form of Contract Agreement by the successful bidder from the Procuring Agency.

IB.21  Performance Security

21.1	The successful bidder shall furnish to the Procuring Agency a Performance Security in the form and the amount stipulated in the Conditions of Contract within a period of fourteen (14) days after the receipt of Letter of Acceptance (SPP 39).

21.2     Failure of the successful bidder to comply with the requirements of Sub-Clauses IB.20.2

& 20.3 or 21.1 or Clause IB.22 shall constitute sufficient grounds for the annulment of the award and forfeiture of the Bid Security.

21.3 Publication of Award of Contract: within seven days of the award of contract, the procuring shall publish on the website of the authority and on its own website, if such a website exists, the results of the bidding process, identifying the bid through procurement identifying Number if any and the following information:

(1) Evaluation Report;

(2) Form of Contract and letter of Award;

(3) Bill of Quantities or Schedule of Requirements. (SPP Rule 50)

IB.22  Integrity Pact The Bidder shall sign and stamp the Form of Integrity Pact provided at Schedule-F to Bid in the Bidding Document for all Sindh Government procurement contracts exceeding Rupees ten (10) million. Failure to provide such Integrity Pact shall make the bid non- responsive (SPP Rule 89).

BIDDING DATA

The following specific data for the works to be tendered shall complement, amend, or supplement the provisions in the Instructions to Bidders. Wherever there is a conflict, the provisions herein shall prevail over those in the Instructions to Bidders.

Instructions to Bidders

Clause Reference:		 NIT No. PD/MUET/KHP/- 127  Dated:19.05.2015

1.1  Name  of  Procuring  Agency:  Mehran  University  of  Engineering  and  Technology

Shaheed Z.A. Bhutto Campus, Khairpur Mir’s. Ph# 0243-

9280314, Fax# 0243-9280023

Brief Description of Works:    	This work consists of PROCUREMENT ON TURN KEY BASIS  OF  DIESEL GENERATORS 100 – 130 KVA of Mehran University of Engineering & Technology,  Shaheed  Z.A.  Bhutto  Campus,  Khairpur Mir’s. Ph# 0243-9280314, Fax# 0243-9280023

5.1 (a) Procuring Agency‘s address:                 Office of the Project Director, Mehran University of Engineering & Technology Shaheed, Z.A. Bhutto Campus, Khairpur Mir’s. Ph# 0243-9280314, Fax# 0243-

9280023

(b) Engineer’s address:

KAD Consultants

F-1, Zaib Residency, 70/72/1

Hussain Housing Scheme, Near Summit Bank

WadhuWah, Qasimabad Hyderabad

PH# +92-22-2652274

FAX# +92-22-2652275

E-mail: kad.consultants@hotmail.com

10.3 Bid shall be quoted entirely in Pak. Rupees. The payment shall be made in Pak.

Rupees.

11.2 The bidder has the financial, technical and constructional capability necessary to perform the Contract as follows:

As per banker’s certificate (to be attached with bid).

12.1  (a)  A  detailed  description  of  the  Works,  essential  technical  and  performance characteristics.

Details to be submitted with the bid by the bidder.

(b)  Complete  set  of  technical  information,  description  data,  literature  and  drawings  as required in accordance with Schedule B to Bid, Specific Works Data. This will include but not be limited to a sufficient number of drawings, photographs, catalogues, illustrations and such other information as is necessary to illustrate clearly the significant characteristics such as general construction dimensions and other relevant information about the works to be performed.

Details to be submitted with the bid by the bidder..

13.1 Amount of Bid Security/Earnest Money: 2% of total bid amount

14.1 Period of Bid Validity: 90 days from the date of bid opening date.

14.4 Number of Copies of the Bid to be submitted: 01 original plus 01 copy.

14.6 (a) Procuring Agency's Address for the Purpose of Bid Submission:

Office of the Project Director, Mehran University of Engineering & Technology, Shaheed,

Z.A. Bhutto Campus, Khairpur Mir’s

Ph# 0243-9280314, Fax# 0243-9280023

15.1 Deadline for Submission of Bids: Time: 12:00 Noon  Date: 09-06-2015.

16.1 Venue, Time, and Date of Bid Opening

Venue:  Office of the Project Director, Mehran University of Engineering & Technology,

Shaheed, Z.A. Bhutto Campus, Khairpur Mir’s

Time: 1:00 P.M        Date: 09-06-2015

16.4 Responsiveness of Bids

(i)  Bid is valid till required period

(ii) Bid prices are firm during currency of contract/Fixed Price Contract

(iii)  Completion period offered is within specified limits (The bidder shall give in the offer his/her own schedule for the delivery and installation of Diesel Generator of the Stores which shall be negotiable and subject to approval of the University).

(iv) The Manufacturers, their authorized dealers (3S – Sale, Service and Spare Facilities), Sole Distributors (3S – Sale, Service and Spare Facilities) and Sole Agents (3S – Sale, Service and Spare Facilities) are eligible to participate in bid.

(v) Bid should not deviate from basic technical requirements and

(vi) Bids are generally in order, etc.

(a)  Fixed  Price  contract:  In  these  contracts  no  escalation  will  be  provided  during currency of the contract

(b)  Price adjustment contract:

NOT APPLICABLE

FORM OF BID AND SCHEDULES TO BID

Sindh Public Procurement Regulatory Authority | www.pprasindh.gov.pk                                                       25

25FORM OF  BID

(LETTER OF OFFER)

Bid Reference No.

(Name of Works)

To:

Gentlemen,

1.	Having examined the Bidding Documents including Instructions to Bidders, Bidding   Data,   Conditions   of   Contract,   Contract   Data,   Specifications, Drawings,     if     any,     Schedule     of     Prices     and     Addenda     Nos.

for the execution of the above-named works, we, the undersigned, being a company doing business under the name of and address

and being duly incorporated under the laws of   Pakistan hereby offer to execute and complete such works and remedy any defects therein in conformity with the said  Documents  including  Addenda  thereto  for  the  Total  Bid  Price  of Rs                                (Rupees                                                  )  or  such  other sum as may be ascertained in accordance with the said Documents.

2.         We understand that all the Schedules attached hereto form part of this Bid.

3.         As security for due performance of the undertakings and obligations of this

Bid,  we  submit  herewith  a  Bid  Security  in  the  amount  of

drawn in your favour or made payable to you and valid for a period of twenty eight (28) days beyond the period of validity of Bid.

4.	We undertake, if our Bid is accepted, to commence the Works and to deliver and complete the Works comprised in the Contract within the time(s) stated in Contract Data.

5.	We agree to abide by this Bid for the period of               days from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

6.	Unless  and  until  a  formal  Agreement  is  prepared  and  executed, this  Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

7.         We undertake, if our Bid is accepted, to execute the Performance Security

referred to in Conditions of Contract for the due performance of the Contract.

8.	We understand that you are not bound to accept the lowest or any bid you may receive.

9.	We do hereby declare that the Bid is made without any collusion, comparison of figures or arrangement with any other person or persons making a bid for the Works.

Dated this                               day of                           , 20

Signature

in the capacity of                            duly authorized to sign bid for and on behalf of

(Name of Bidder in Block Capitals)

(Seal)

Address

Witness:

(Signature)

Name: 	 Address:

[SCHEDULES TO BID INCLUDE THE FOLLOWING:

    Schedule A to Bid: Schedule of Prices /(BOQ at Page 78)

    Schedule B to Bid: Specific Works Data

    Schedule C to Bid: Works to be Performed by Subcontractors

    Schedule D to Bid: Proposed Program of Works

    Schedule E to Bid: Method of Performing Works

    Schedule F to Bid: Integrity Pact]

SCHEDULE – A TO BID SCHEDULE OF PRICES

Sr. No.                                                                               Page No.

1.                     Preamble to Schedule of Prices…………..    30

2.                     Schedule of Prices……………………….     32

*(a) Summary of Bid Prices

* (b) Detailed Schedule of Prices /Bill of Quantities (BOQ)

* [To be prepared by the Engineer/Procuring Agency]

SCHEDULE - A TO BID

PREAMBLE TO SCHEDULE OF PRICES

1.         General

1.1	The  Schedule  of  Prices  shall  be  read  in  conjunction  with  the Conditions of Contract, Contract Data together with the Specifications and Drawings, if any.

1.2       The Contract shall be for the whole of the works as described in these

Bidding Documents. Bids must be for the complete scope of works.

2.         Description

2.1	The general directions and descriptions of works and materials are not necessarily repeated nor summarized in the Schedule of Prices. References to the relevant sections of the Bidding Documents shall be made  before  entering  prices  against  each  item  in  the  Schedule  of Prices.

3.         Units & Abbreviations

3.1	Units  of measurement,  symbols  and  abbreviations  expressed in the Bidding Documents shall comply with the Systeme Internationale d‘ Unites (SI Units).

(Note: The abbreviations to be used in the Schedule of Prices to be defined by the Procuring Agency).

4.         Rates and Prices

4.1	Except  as  otherwise  expressly  provided  under  the  Conditions  of Contract, the rates and amounts entered in the Schedule of Prices shall be the rates at which the Contractor shall be paid and shall be the full inclusive value of the works set forth or implied in the Contract; except for the amounts reimbursable, if any to the Contractor under the Contract.

4.2	Unless otherwise stipulated in the Contract Data, the premium, rates and prices entered by the bidder shall not be subject to adjustment during the performance of the Contract.

4.3	All duties, taxes and other levies payable by the Contractor shall be included in the rates and prices.

4.4	The whole cost of complying with the provisions of the Contract shall be included in the items provided in the Schedule of Prices, and where

SCHEDULE - A TO BID

no items are provided, the cost shall be deemed to be distributed among the rates and prices entered for the related items of the Works and no separate payment will be made for those items.

The rates, prices and amounts shall be entered against each item in the Schedule of Prices. Any item against which no rate or price is entered by the bidder will not be paid for by the Procuring Agency when executed and shall be deemed covered by the rates and prices for other items in the Schedule of Prices.

4.5 (a) The bidder shall be deemed to have obtained all information as to and all requirements related there to which may affect the bid price.

(b) The  Contractor  shall  be  responsible  to  make  complete  arrangements  for  the transportation of the plant to the site. Such cost shall be inbuilt in his quoted rates.

4.6 The Contractor shall provide for all parts of the Works to be completed in every respect.

Notwithstanding that any details, accessories, etc. required for the complete installation and satisfactory operation of the Works, are not specifically mentioned in the Specifications, such details shall be considered as included in the Contract Price.

5. Bid Prices

5.1 Break-up of Bid Prices

The various elements of Bid Prices shall be quoted as detailed by the Procuring Agency in the format of Schedule of Prices. The bidder shall recognize such elements of the costs which he expects to incur the performance of the Works and shall include all such costs in the rates and amounts entered in the Schedule of Prices.

5.2 Total Bid Price

The total of bid prices in the Schedule of Prices shall be entered in the Summary of Bid

Prices.

6. Provisional Sums and Day work

6.1 Provisional Sums included and so designated in the Schedule of Prices if any, shall be expended in whole or in part at the direction and discretion of the Engineer/Procuring Agency. The Contractor will only receive payment in respect of Provisional Sums, if he has been instructed by the Engineer/Procuring Agency to utilize such sums.

6.2 Day work rates in the contractor‘s bid are to be used for small additional amounts of work and only when the Engineer have given written instructions in advance for additional work to be paid for in that way.

Sindh Public Procurement Regulatory Authority |  					                                                                                                3        1

SCHEDULE OF PRICES – SUMMARY OF BID PRICES (Sample)

| Bill No. | Description | Total Amount (Rs) |
| --- | --- | --- |
| 1. 2 3 4 5 1. 2. 3. 4. 1. 2. 3. 4. 5. 6. | (A) Building Work Civil works Internal sanitary and water supply Electrification External Development works Miscellaneous Items (B) Road Work. Earthwork Hard Crust and Surface Treatment Culverts and Bridges Miscellaneous Items (C) Public Health Engineering Works. Earthwork Subsurface Drains Pipe Laying and Man holes Tube wells, Pump houses Compound wall Miscellaneous Items |  |
|  | Total Bid Price (The amount to be entered in Paragraph 1 of the Form of Bid) (In words). |

SCHEDULE OF PRICES

| Item No. | Description | Quantity | Unit Rate(Rs) | Total Amount (Rs) |
| --- | --- | --- | --- | --- |
| 1. 2. 3. 1. 2. 3. 1. 2. 3. 1. 2. 3. 1. 2. 3. | I. (Civil works) II.Internal sanitary and water supply. III. Electrification. IV. External Development works. V. Miscellaneous Items |  |  |  |
| Total (to be carried to Summary of Bid Price) Add/ Deduct the percentage quoted above/below on the prices of items based on Composite Schedule of Rates. |

SCHEDULE - B TO BID

*SPECIFIC WORKS DATA

(To be prepared and incorporated by the Procuring Agency)

*(Note: The Procuring Agency shall spell out the information & data required to be filled out by the bidder and to furnish complementary information).

WORKS TO BE PERFORMED BY SUBCONTRACTORS*

The bidder will do the work with his own forces except the work listed below which he intends to sub-contract.

| Items of Works | Name and address of | Statement of similar |
| --- | --- | --- |
| to be Sub-Contracted | Sub-Contractors | works previously |
|  |  | executed. (attach |
|  |  | evidence) |

Note:

*          The Procuring Agency should decide whether to allow subcontracting or not.

In case Procuring  Agency decides  to  allow subcontracting then following conditions shall be complied with:

1.	No change of Sub-Contractors  shall  be made by the bidder without prior approval of the Procuring Agency.

2.	The truthfulness and accuracy of the statement as to the experience of Sub- Contractors is guaranteed by the bidder. The Procuring Agency‘s judgment shall be final as to the evaluation of the experience of Sub-Contractors submitted by the bidder.

3.	Statement  of  similar  works  shall  include  description,  location  & value of works, year completed and name & address of the clients.

PROPOSED PROGRAMME OF WORKS

Bidder  shall  provide  a  programme  in  a  bar-chart  or  Program  Evaluation  and  Review Technique (PERT) or Critical Path Method (CPM) showing the sequence of work items by which he proposes to complete the works of the entire Contract. The programme should indicate the sequence of work items and the period of time during which he proposes to complete the works including the activities like designing, schedule of submittal of drawings, ordering  and  procurement  of  materials,  manufacturing,  delivering,  construction  of  civil works, erection, testing and commissioning of works to be supplied under the Contract.

SCHEDULE – E TO BID METHOD OF PERFORMING WORKS

The bidder is required to submit a narrative outlining the method of performing the Works. The narrative should indicate in detail and include but not be limited to:

	The sequence and methods in which he proposes to carry out the Works, including the number of shifts per day and hours per shift, he expects to work.

	A  list  of  all  major  items  of  construction  and  plant  erection,  tools  and  vehicles proposed to be used in delivering/carrying out the works at site.

	The procedure for installation of equipment and transportation of equipment and materials to the site.

	Organisation  chart  indicating  head  office  &  field  office  personnel  involved  in management,  supervision  and  engineering  of  the  Works  to  be  done  under  the Contract.

(INTEGRITY PACT)

SCHEDULE – F TO BID

DECLARATION OF FEES, COMMISSION AND BROKERAGE ETC PAYABLE BY CONTRACTORS

(FOR CONTRACTS WORTH RS. 10.00 MILLION OR MORE)

Contract No.                                 Dated  	 Contract Value:

Contract Title:

………………………………… [name of Contractor] hereby declares that it has not obtained or induced the procurement of any contract, right, interest, privilege or other obligation or benefit from Government of Sindh (GoS) or any administrative subdivision or agency thereof or any other entity owned or controlled by it (GoS) through any corrupt business practice.

Without  limiting  the  generality  of  the  foregoing,  [name  of  Contractor]  represents  and warrants that it has fully declared the brokerage, commission, fees etc. paid or payable to anyone and not given or agreed to give and shall not give or agree to give to anyone within or outside Pakistan either directly or indirectly through any natural or juridical person, including its affiliate, agent, associate, broker, consultant, director, promoter, shareholder, sponsor  or  subsidiary,  any  commission,  gratification,  bribe,  finder‘s  fee  or  kickback, whether described as consultation fee or otherwise, with the object of obtaining or inducing the procurement of a contract, right, interest, privilege or other obligation or benefit in whatsoever form from, from Procuring Agency (PA)  except that which has been expressly declared pursuant hereto.

[name of Contractor] accepts full responsibility and strict liability that it has made and will make full disclosure of all agreements and arrangements with all persons in respect of or related to the transaction with PA and has not taken any action or will not take any action to circumvent the above declaration, representation or warranty.

[name of Contractor] accepts full responsibility and strict liability for making any false declaration, not making full disclosure, misrepresenting facts or taking any action likely to defeat  the  purpose  of  this  declaration,  representation  and  warranty.  It  agrees  that  any contract,  right,  interest,  privilege  or  other  obligation or benefit obtained or procured as aforesaid shall, without prejudice to any other rights and remedies available to PA under any law, contract or other instrument, be voidable at the option of PA.

Notwithstanding any rights and remedies exercised by PA in this regard, [name of Supplier/Contractor/Consultant] agrees to indemnify PA for any loss or damage incurred by it on account of its corrupt business practices and further pay compensation to PA in an amount equivalent to ten time the sum of any commission, gratification, bribe, finder‘s fee or kickback given by [name of Contractor] as aforesaid for the purpose of obtaining or inducing the procurement of any contract, right, interest, privilege or other obligation or benefit in whatsoever form from PA.

………………………

[Procuring Agency]                                                                      [Contractor]

CONDITIONS OF CONTRACT

TABLE OF CONTENTS

CONDITIONS OF CONTRACT

Clause No                              Description                                                 Page No

1.   General Provisions……………………………………………………... 41

2.   The Procuring Agency………………………………………………… 43

3.   Engineer‘s/Procuring Agency‘s Representatives……………………… 43

4.   The Contractor………………………………………………………… 44

5.   Design by Contractor…………………………………………….……. 44

6.   Procuring Agency‘s Risks……………………………………………… 45

7.   Time for Completion…………………………………………………... 46

8.   Taking Over……………………………………………………………. 46

9.   Remedying Defects……………………………………………………. 47

10. Variations and Claims………………….……………………………… 47

11. Contract Price And Payment…………………………………………... 49

12. Default…………………………………………………………………  50

13. Risks and Responsibilities……………………………………….…….. 51

14. Insurance………………………………………………………………. 52

15. Resolution of Disputes………………………………………………… 53

16. Integrity Pact…………………………………………………………… 54

CONDITIONS OF CONTRACT

1.               GENERAL PROVISIONS

1.1             Definitions

In the Contract as defined below, the words and expressions defined shall have the following  meanings  assigned  to  them,  except  where  the  context  requires otherwise:

The Contract

1.1.1          ―Contract‖ means the Contract Agreement and the other documents listed in the

Contract Data.

1.1.2	―Specifications‖  means the document as listed in the Contract Data, including Procuring Agency‘s requirements in respect of design to be carried out by the Contractor (if any), and any Variation to such document.

1.1.3          ―Drawings‖ means the Procuring Agency‘s drawings of the Works as listed in the

Contract Data, and any Variation to such drawings.

Persons

1.1.4	―Procuring Agency‖ means the person named in the Contract Data and the legal successors  in  title  to  this  person,  but  not  (except  with  the  consent  of  the Contractor) any assignee.

1.1.5	―Contractor‖   means  the  person  named  in  the  Contract  Data  and  the  legal successors in title to this person, but not (except with the consent of the Procuring Agency) any assignee.

1.1.6          ―Party‖ means either the Procuring Agency or the Contractor.

Dates, Times and Periods

1.1.7          ―Commencement  Date‖  means  the  date  fourteen  (14)  days  after  the  date  the

Contract comes into effect or any other date named in the Contract Data.

1.1.8          ―Day‖ means a calendar day

1.1.9	―Time for Completion‖ means the time for completing the Works as stated in the Contract Data (or as extended under Sub-Clause 7.3), calculated from the Commencement Date.

Money and Payments

1.1.10        ―Cost‖  means  all  expenditure  properly  incurred  (or  to  be  incurred)  by  the

Contractor, whether on or off the Site, including overheads and similar charges but

does not include any allowance for profit.

Other Definitions

1.1.11	―Contractor‘s   Equipment‖   means  all  machinery,  apparatus  and  other  things required for the execution of the Works but does not include Materials or Plant intended to form part of the Works.

1.1.12        ―Country‖ means the Islamic Republic of Pakistan.

1.1.13        ―Procuring Agency‘s Risks‖ means those matters listed in Sub-Clause 6.1.

1.1.14	―Force Majeure‖ means an event or circumstance which makes performance of a Party‘s obligations illegal or impracticable and which is beyond that Party‘s reasonable control.

1.1.15        ‗Materials‖  means  things  of  all  kinds  (other  than  Plant)  to  be  supplied  and

incorporated in the Works by the Contractor.

1.1.16        ―Plant‖ means the machinery and apparatus intended to form or forming part of

the Works.

1.1.17	―Site‖ means the places provided by the Procuring Agency where the Works are to be executed, and any other places specified in the Contract as forming part of the Site.

1.1.18	―Variation‖ means a change which is instructed by the Engineer/Procuring Agency under Sub-Clause 10.1.

1.1.19	‗Works‖ means any or all the works whether Supply, Installation, Construction etc. and design (if any) to be performed by the Contractor including temporary works and any variation thereof.

1.1.20	―Engineer‖ means the person notified by the Procuring Agency to act as Engineer for the purpose of the Contract and named as such in Contract Data.

1.2             Interpretation

Words importing persons or parties shall include firms and organisations. Words importing singular or one gender shall include plural or the other gender where the context requires.

1.3             Priority of Documents

The documents forming the Contract are to be taken as mutually explanatory of one another. If an ambiguity or discrepancy is found in the documents, the priority of the documents shall be in accordance with the order as listed in the Contract Data.

1.4             Law

The law of the Contract is the relevant Law of Islamic Republic of Pakistan.

1.5             Communications

All Communications related to the Contract shall be in English language.

1.6             Statutory Obligations

The Contractor shall comply with the Laws of Islamic Republic of Pakistan and shall give all notices and pay all fees and other charges in respect of the Works.

2.               THE PROCURING AGENCY

2.1             Provision of Site

The Procuring Agency shall provide the Site and right of access thereto at the times stated in the Contract Data.

Site Investigation Reports are those that were included in the bidding documents and  are  factual  and  interpretative  reports  about  the  surface  and  subsurface conditions at the Site.

2.2             Permits etc.

The Procuring Agency shall, if requested by the Contractor, assist him in applying for permits, licences or approvals which are required for the Works.

2.3             Engineer’s/Procuring Agency’s Instructions

The Contractor shall comply with all instructions given by the Procuring Agency or the Engineer, if notified by the Procuring Agency, in respect of the Works including the suspension of all or part of the works.

2.4             Approvals

No approval or consent or absence of comment by the Engineer/Procuring Agency

shall affect the Contractor‘s obligations.

3.               ENGINEER’S/PROCURING AGENCY’S REPRESENTATIVES

3.1             Authorised Person

The Procuring Agency shall appoint a duly authorized person to act for him and on his behalf for the purposes of this Contract. Such authorized person shall be duly identified in the Contract Data or otherwise notified in writing to the Contractor as soon as he is so appointed. In either case the Procuring Agency shall notify the Contractor, in writing, the precise scope of the authority of such authorized person at the time of his appointment.

3.2             Engineer’s/Procuring Agency’s Representative

The name and address of Engineer‘s/Procuring Agency‘s Representative is given in Contract Data. However the Contractor shall be notified by the Engineer/Procuring Agency, the delegated duties and authority before the Commencement of works.

4.               THE CONTRACTOR

4.1             General Obligations

The Contractor shall carry out the works properly and in accordance with the Contract. The Contractor shall provide all supervision, labour, Materials, Plant and Contractor‘s Equipment which may be required

4.2             Contractor’s Representative

The Contractor shall appoint a representative at site on full time basis to supervise the execution of work and to receive instructions on behalf of the Contractor but only after obtaining the consent of the Procuring Agency for such appointment which consent shall not be withheld without plausible reason(s) by the Procuring Agency. Such authorized representative may be substituted/ replaced by the Contractor at any time during the Contract Period but only after obtaining the consent of the Procuring Agency as aforesaid.

4.3             Subcontracting

The Contractor shall not subcontract the whole of the works. The Contractor shall not  subcontract  any  part  of  the  works  without  the  consent  of  the  Procuring Agency.

4.4             Performance Security

The Contractor shall furnish to the Procuring Agency within fourteen (14) days after receipt of Letter of Acceptance a Performance Security at the option of the bidder,  in  the  form  of  Payee‘s  order  /Bank  Draft  or  Bank  Guarantee  from scheduled bank for the amount and validity specified in Contract Data.

5.               DESIGN BY CONTRACTOR

5.1             Contractor’s Design

The Contractor shall carry out design to the extent specified, as referred to in the Contract Data. The Contractor shall promptly submit to the Engineer/Procuring Agency all designs prepared by him, within fourteen (14) days of receipt the Engineer/Procuring Agency shall notify any comments or, if the design submitted is not in accordance with the Contract, shall reject it stating the reasons. The

Contractor shall not construct any element of the works designed by him within fourteen (14) days after the design has been submitted to the Engineer/Procuring Agency  or  which  has  been  rejected.  Design  that  has  been  rejected  shall  be promptly amended and resubmitted. The Contractor shall resubmit all designs commented on taking these comments into account as necessary.

5.2             Responsibility for Design

The Contractor shall remain responsible for his bided design and the design under this Clause, both of which shall be fit for the intended purposes defined in the Contract and he shall also remain responsible for any infringement of any patent or copyright in respect of the same. The Engineer/Procuring Agency shall be responsible for the Specifications and Drawings.

6.               PROCURING AGENCY’S RISKS

6.1             The Procuring Agency’s Risks

The Procuring Agency‘s Risks are:-

a)	war, hostilities (whether war be declared or not), invasion, act of foreign enemies, within the Country;

b)	rebellion, terrorism, revolution, insurrection, military or usurped power, or civil war, within the Country;

c)	riot, commotion or disorder by persons other than the Contractor‘s personnel and other employees including the personnel and employees of Sub- Contractors, affecting the Site and/or the Works;

d)	ionising  radiations, or contamination by radio-activity from any nuclear fuel, or from any nuclear waste from the combustion of nuclear fuel, radio-active toxic explosive, or other hazardous properties of any explosive nuclear assembly or nuclear component of such an assembly, except to the extent to which the Contractor/Sub-Contractors may be responsible for the use of any radio-active material;

e)	Pressure waves caused by aircraft or other aerial devices travelling at sonic or supersonic speeds;

f)	use or occupation by the Procuring Agency of any part of the Works, except as may be specified in the Contract;

g)	late handing over of sites, anomalies in drawings, late delivery of designs and drawings of any part of the Works by the Procuring Agency‘s personnel or by others for whom the Procuring Agency is responsible;

h)     a   suspension   under   Sub-Clause   2.3   unless   it   is   attributable   to   the

Contractor‘s failure; and

i)	physical obstructions or physical conditions other than climatic conditions, encountered on the Site during the performance of the Works, for which the Contractor immediately notified to the Procuring Agency and accepted by the Procuring Agency.

7.               TIME FOR COMPLETION

7.1             Execution of the Works

The Contractor shall commence the Works on the Commencement Date and shall proceed expeditiously and without delay and shall complete the Works, subject to Sub-Clause 7.3 below, within the Time for Completion.

7.2             Programme

Within the time stated in the Contract Data, the Contractor shall submit to the Engineer/Procuring Agency a programme for the Works in the form stated in the Contract Data.

7.3             Extension of Time

The Contractor shall, within such time as may be reasonable under the circumstances,  notify  the  Procuring  Agency/Engineer  of  any  event(s)  falling within the scope of Sub-Clause 6.1 or 10.3 of these Conditions of Contract and request the Procuring Agency/Engineer for a reasonable extension in the time for the completion of works. Subject to the aforesaid, the Procuring Agency/Engineer shall determine such reasonable extension in the time for the completion of works as may be justified in the light of the details/particulars supplied by the Contractor in  connection  with  the such determination  by the  Procuring Agency/Engineer within such period as may be prescribed by the Procuring Agency/Engineer for the same; and the  Procuring  Agency  may  extend  the  time  for  completion  as determined.

7.4             Late Completion

If the Contractor fails to complete the Works within the Time for Completion, the Contractor‘s only liability to the Procuring Agency for such failure shall be to pay the amount as liquidity damages stated in the Contract Data for each day for which he fails to complete the Works.

8.               TAKING-OVER

8.1             Completion

The Contractor may notify the Engineer/Procuring Agency when he considers that the Works are complete.

8.2             Taking-Over Notice

Within fourteen (14) days of the receipt of the said notice of completion from the Contractor the Procuring Agency/Engineer shall either takeover the completed works and issue a Certificate of Completion to that effect or shall notify the Contractor his reasons for not taking-over the works. While issuing the Certificate of  Completion  as  aforesaid,  the  Procuring  Agency/Engineer  may identify any outstanding items of work which the Contractor shall undertake during the Maintenances Period.

9.               REMEDYING DEFECTS

9.1             Remedying Defects

The Contractor shall for a period stated in the Contract Data from the date of issue of the Certificate of Completion carry out, at no cost to the Procuring Agency, repair and rectification work which is necessitated by the earlier execution of poor quality of work or use of below specifications material in the execution of Works and which is so identified by the Procuring Agency/Engineer in writing within the said  period.  Upon  expiry of  the  said  period,  and  subject  to  the  Contractor‘s faithfully performing his aforesaid obligations, the Procuring Agency/Engineer shall issue a Maintenance Certificate whereupon all obligations of the Contractor under this Contract shall come to an end.

Failure to remedy any such defects or complete outstanding work within a reasonable time shall entitle the Procuring Agency to carry out all necessary works at the Contractor‘s cost. However, the cost of remedying defects not attributable to the Contractor shall be valued as a Variation.

9.2             Uncovering and Testing

The Engineer/Procuring Agency may give instruction as to the uncovering and/or testing  of  any work.  Unless  as  a result  of an  uncovering and/or  testing it  is established that the Contractor‘s design, materials, plant or workmanship are not in accordance with the Contract, the Contractor shall be paid for such uncovering and/or testing as a Variation in accordance with Sub-Clause 10.2.

10.             VARIATIONS AND CLAIMS

10.1           Right to Vary

The Procuring Agency/Engineer may issue Variation Order(s) in writing. Where for any reason it has not been possible for the Procuring Agency/Engineer to issue such Variations Order(s), the Contractor may confirm any verbal orders given by the Procuring Agency/Engineer in writing and if the same are not refuted/denied by the Procuring Agency/Engineer within ten (10) days of the receipt of such confirmation the same shall be deemed to be a Variation Orders for the purposes of this Sub-Clause.

10.2           Valuation of Variations

Variations shall be valued as follows:

a)           at a lump sum price agreed between the Parties, or b)           where appropriate, at rates in the Contract, or

c)	in the absence of appropriate rates, the rates in the Contract shall be used as the basis for valuation, or failing which

d)           at   appropriate   new   rates,   as   may   be   agreed   or   which   the

Engineer/Procuring Agency considers appropriate, or

e)	if the Engineer/Procuring Agency so instructs, at day work rates set out in the Contract Data for which the Contractor shall keep records of hours of labour and Contractor‘s Equipment, and of Materials, used.

10.3         Changes in the Quantities.

a)	If the final quantity of the work done differs from the quantity in the Bill of  Quantities for the particular item by more than 25 percent, provided the change exceeds 1 percent of the Initial Contract Price, the Procuring Agency/Engineer shall adjust the rate to allow for the change and will be valued as per sub clause 10.2.

b)	The Engineer shall not adjust rates from changes in quantities if thereby the Initial Contract Price is exceeded by more than 15 percent, except with the prior approval of the Procuring Agency.

c)	If requested by the Engineer, the contractor shall provide the Engineer with a detailed cost breakdown of any rate in the Bill of Quantities.

10.4           Early Warning

The Contractor shall notify the Engineer/Procuring Agency in writing as soon as he is aware of any circumstance which may delay or disrupt the Works, or which may give rise to a claim for additional payment.

To the extent of the Contractor‘s failure to notify, which results to the Engineer/Procuring Agency being unable to keep all relevant records or not taking steps to minimise any delay, disruption, or Cost, or the value of any Variation, the Contractor‘s entitlement to extension of the Time for Completion or additional payment shall be reduced/rejected.

10.5           Valuation of Claims

If the Contractor incurs Cost as a result of any of the Procuring Agency‘s Risks,

the Contractor shall be entitled to the amount of such Cost. If as a result of any

Procuring Agency‘s Risk, it is necessary to change the Works, this shall be dealt with as a Variation subject to Contractor‘s notification for intention of claim to the Engineer/Procuring Agency within fourteen (14) days of the occurrence of cause.

10.6           Variation and Claim Procedure

The  Contractor  shall  submit  to  the  Engineer/Procuring  Agency  an  itemised detailed breakdown of the value of variations and claims within twenty eight (28) days of the instruction or of the event giving rise to the claim. The Engineer/Procuring Agency shall check and if possible agree the value. In the absence of agreement, the Procuring Agency shall determine the value.

11.             CONTRACT PRICE AND PAYMENT

| 11.1 | (a) | Terms of Payments The amount due to the Contractor under any Interim Payment Certificate |
| --- | --- | --- |
|  |  | issued by the Engineer pursuant to this Clause, or to any other terms of the Contract, shall , subject to Clause 11.3, be paid by the Procuring Agency to the Contractor within 30 days after such Interim Payment Certificate has been jointly verified by Procuring Agency and Contractor, or, in the case of the Final Certificate referred to in Sub Clause 11.5, within 60days after such Final Payment Certificate has been jointly verified by Procuring Agency and Contractor; |
|  |  | Provided that the Interim Payment shall be caused in thirty (30) days and Final Payment in 60 days in case of foreign funded project. In the event of the failure of the Procuring Agency to make payment within 90 days then Procuring Agency shall pay to the Contractor compensation at the 28 days rate of KIBOR+2% per annum in local currency and LIBOR+1% for foreign currency, upon all sums unpaid from the date by which the same should have been paid. |
|  | (b) | Valuation of the Works |
|  |  | The Works shall be valued as provided for in the Contract Data, subject to Clause 10. |

11.2           Monthly Statements

The Contractor shall be entitled to be paid at monthly intervals:

a)	the value of the Works executed less to the cumulative amount paid previously; and

b)	value of secured advance on the materials and valuation of variations (if any).

The Contractor shall submit each month to the Engineer/Procuring Agency a statement showing the amounts to which he considers himself entitled.

11.3           Interim Payments

Within a period not exceeding seven (07) days from the date of submission of a statement for interim payment by the Contractor, the Engineer shall verify the same and within a period not exceeding thirty (30/60) days from the said date of submission by the Contractor, the Procuring Agency shall pay to the Contractor the sum subject to adjustment for deduction of the advance payments and retention money.

11.4           Retention

Retention money shall be paid by the Procuring Agency to the Contractor within fourteen (14) days after either the expiry of the period stated in the Contract Data, or the remedying of notified defects, or the completion of outstanding work, all as referred to in Sub-Clause 9.1, whichever is the later.

11.5           Final Payment

Within twenty one (21) days from the date of issuance of the Maintenance Certificate the Contractor shall submit a final account to the Engineer to verify and the Engineer shall verify the same within fourteen (14) days from the date of submission and forward the same to the Procuring Agency together with any documentation reasonably required to enable the Procuring Agency to ascertain the final contract value.

Within sixty (60) days from the date of receipt of the verified final account from the Engineer, the Procuring Agency shall pay to the Contractor any amount due to the  Contractor.  While  making  such  payment  the  Procuring  Agency  may,  for reasons to be given to the Contractor in writing, withhold any part or parts of the verified amount.

11.6           Currency

Payment shall be in the currency stated in the Contract Data.

12.             DEFAULT

12.1           Defaults by Contractor

If the Contractor abandons the Works, refuses or fails to comply with a valid instruction of the Engineer/Procuring Agency or fails to proceed expeditiously and without delay, or is, despite a written complaint, in breach of the Contract, the Procuring Agency may give notice referring to this Sub-Clause and stating the default.

If the Contractor has not taken all practicable steps to remedy the default within fourteen (14) days after receipt of the Procuring Agency‘s notice, the Procuring Agency may by a second notice given within a further twenty one (21) days, terminate the Contract. The Contractor shall then demobilize from the Site leaving behind any Contractor‘s Equipment which the Procuring Agency instructs, in the second notice, to be used for the completion of the Works at the risk and cost of the Contractor.

12.2           Defaults by Procuring Agency

If the Procuring Agency fails to pay in accordance with the Contract, or is, despite a written complaint, in breach of the Contract, the Contractor may give notice referring to this Sub-Clause and stating the default. If the default is not remedied within fourteen (14) days after the Procuring Agency‘s receipt of this notice, the Contractor may suspend the execution of all or parts of the Works.

If the default is not remedied within twenty eight (28) days after the Procuring Agency‘s  receipt  of  the  Contractor‘s  notice,  the Contractor  may by a second notice given within a further twenty one (21) days, terminate the Contract. The Contractor shall then demobilise from the Site.

12.3           Insolvency

If a Party is declared insolvent under any applicable law, the other Party may by notice terminate the Contract immediately. The Contractor shall then demobilise from  the  site leaving behind,  in  the case of the Contractor‘s insolvency, any Contractor‘s Equipment which the Procuring Agency instructs in the notice is to be used for the completion of the Works.

12.4           Payment upon Termination

After  termination,  the  Contractor  shall  be  entitled  to  payment  of  the  unpaid balance of the value of the works executed and of the Materials and Plant reasonably delivered to the site, adjusted by the following:

a)        any sums to which the Contractor is entitled under Sub-Clause 10.4, b)        any sums to which the Procuring Agency is entitled,

c)	if the Procuring Agency has terminated under Sub-Clause 12.1 or 12.3, the Procuring Agency shall be entitled to a sum equivalent to twenty percent (20%) of the value of parts of the Works not executed at the date of the termination, and

d)	if  the  Contractor  has  terminated  under  Sub-Clause  12.2  or  12.3,  the Contractor shall be entitled to the cost of his demobilisation together with a sum equivalent to ten percent (10%) of the value of parts of the works not executed at the date of termination.

The net balance due shall be paid or repaid within twenty eight (28) days of the notice of termination.

13.             RISKS AND RESPONSIBILITIES

13.1           Contractor’s Care of the Works

Subject to Sub-Clause 9.1, the Contractor shall take full responsibility for the care

of the Works from the Commencement Date until the date of the Procuring Agency‘s/Engineer‘s issuance of Certificate of Completion under Sub-Clause 8.2. Responsibility shall then pass to the Procuring Agency. If any loss or damage happens to the Works during the above period, the Contractor shall rectify such loss or damage so that the Works conform with the Contract.

Unless the loss or damage happens as a result of any of the Procuring Agency‘s Risks, the Contractor shall indemnify the Procuring Agency, or his agents against all claims loss, damage and expense arising out of the Works.

13.2           Force Majeure

If  Force  Majeure  occurs,  the  Contractor  shall  notify  the  Engineer/Procuring Agency immediately. If necessary, the Contractor may suspend the execution of the Works and, to the extent agreed with the Procuring Agency demobilize the Contractor‘s Equipment.

If the event continues for a period of eighty four (84) days, either Party may then give notice of termination which shall take effect twenty eight (28) days after the giving of the notice.

After  termination,  the  Contractor  shall  be  entitled  to  payment  of  the  unpaid balance of the value of the Works executed and of the Materials and Plant reasonably delivered to the Site, adjusted by the following:

a)        any sums to which the Contractor is entitled under Sub-Clause 10.4, b)        the cost of his demobilization, and

c)        less any sums to which the Procuring Agency is entitled.

The net balance due shall be paid or repaid within thirty five (35) days of the notice of termination.

14.             INSURANCE

14.1           Arrangements

The Contractor shall, prior to commencing the Works, effect insurances of the types, in the amounts and naming as insured the persons stipulated in the Contract Data except for items (a) to (e) and (i) of the Procuring Agency‘s Risks under Sub- Clause 6.1. The policies shall be issued by insurers and in terms approved by the Procuring Agency. The Contractor shall provide the Engineer/Procuring Agency with evidence that any required policy is in force and that the premiums have been paid.

14.2           Default

If the Contractor fails to effect or keep in force any of the insurances referred to in the previous  Sub-Clause, or fails to provide satisfactory evidence, policies or receipts,  the  Procuring  Agency  may,  without  prejudice  to  any  other  right  or

remedy, effect insurance for the cover relevant to such as a default and pay the premiums due and recover the same plus a sum in percentage given in Contractor Data from any other amounts due to the Contractor.

15.             RESOLUTION OF DISPUTES

15.1           Engineer’s Decision

If a dispute of any kind whatsoever arises between the Procuring Agency and the Contractor in connection with the works, the matter in dispute shall, in the first place, be referred in writing to the Engineer, with a copy to the other party. Such reference shall state that it is made pursuant to this Clause. No later than the twenty eight (28) days after the day on which he received such reference, the Engineer   shall   give   notice   of   his   decision   to   the   Procuring   Agency (Superintending Engineer) and the Contractor.

Unless the Contract has already been repudiated or terminated, the Contractor shall, in every case, continue to proceed with the work with all due diligence, and the  Contractor  and  the  Procuring Agency (Superintending Engineer)shall  give effect forthwith to every such decision of the Engineer unless and until the same shall be revised, as hereinafter provided in an arbitral award.

15.2           Notice of Dissatisfaction

If a Party is dissatisfied with the decision of the Engineer of consultant or if no decision is given within the time set out in Sub-Clause 15.1 here above, the Party may give notice of dissatisfaction referring to this Sub-Clause within fourteen (14) days of receipt of the decision or the expiry of the time for the decision. If no notice of dissatisfaction is given within the specified time, the decision shall be final and binding on the Parties. If notice of dissatisfaction is given within the specified time, the decision shall be binding on the Parties who shall give effect to it without delay unless and until the decision of the Engineer is revised by an arbitrator.

If a contractor is dissatisfied with the decision of the Engineer of the department or decision is not given in time then he can approach Superintending Engineer within 14 days, in case of dissatisfaction with decision of Superintending Engineer or not decided within 28 days, then arbitration process would be adopted as per clause 15.3.

15.3           Arbitration

A dispute which has been the subject of a notice of dissatisfaction shall be finally settled as per provisions of Arbitration Act 1940 (Act No. X of 1940) and Rules made there under and any statutory modifications thereto. Any hearing shall be held at the place specified in the Contract Data and in the language referred to in Sub-Clause 1.5.

16              INTEGRITY PACT

16.1	If the Contractor or any of his Sub-Contractors, agents or servants is found to have violated or involved in violation of the Integrity Pact signed by the Contractor as Schedule-F to his Bid, then the Procuring Agency shall be entitled to:

(a)    recover from the Contractor an amount equivalent to ten times the sum of any commission, gratification, bribe, finder‘s fee or kickback given by the Contractor or any of his Sub-Contractors, agents or servants;

(b)    terminate the Contract; and

(c)	recover from the Contractor any loss or damage to the Procuring Agency as a result of such termination or of any other corrupt business practices of the Contractor or any of his Sub-Contractors, agents or servants.

On termination of the Contract under Sub-Para (b) of this Sub-Clause, the Contractor shall demobilize from the site leaving behind Contractor‘s Equipment which the Procuring Agency instructs, in the termination notice, to be used for the completion of the works at the risk and cost of the Contractor. Payment upon such termination shall be made under Sub-Clause 12.4, in accordance with Sub-Para (c) thereof, after having deducted the amounts due to the Procuring Agency under Sub-Para (a) and (c) of this Sub-Clause.

CONTRACT DATA

Sub-Clauses of

Conditions of Contract

1.1.3 Procuring Agency‘s Drawings:

Earthing drawing attached.

1.1.4 The Procuring Agency means― the person or entity named in the Contract Data and the legal successors in title to this person, but not (except with the consent of the Contractor) any assignee. Here P/A is Mehran University of Engineering & Technology, Shaheed Z.A. Bhutto Campus, Khairpur Mir’s

1.1.5  The  Contractor  means  a  firm  which  is  employed  by  the  P/A.A  contractor  is responsible for providing all of the material, labor, equipment and services necessary for the construction of the project.

1.1.7 Commencement Date means the date of issue of Engineer‘s Notice/Work Order to Commence which shall be issued within fourteen (14) days of the signing of the Contract Agreement.

1.1.9 Time of Completion: The bidder shall give in the offer his/her own schedule for the delivery and installation of Diesel Generators of the Stores which shall be negotiable and subject to approval of the Competent Authority.

1.1.20 Engineer

KAD Consultants

F-1, Zaib Residency, 70/72/1

Hussain Housing Scheme, Near Summit Bank

WadhuWah, Qasimabad Hyderabad

PH# +92-22-2652274

FAX# +92-22-2652275

E-mail: kad.consultants@hotmail.com

1.3 Documents forming the Contract listed in the order of priority:

(a)       The Contract Agreement

(b)       Letter of Acceptance

(c)       The completed Form of Bid

(d)       Contract Data

(e)       Conditions of Contract

(f)        The Specifications

(g)       Special Notes

(h)       Bill of Quantities (BOQ)

2.1 Provision of Site: On the Commencement Date

3.1Authorized person: Project Director, MUET, Shaheed Z.A. Bhutto Campus, Khairpur Mir’s

3.2 Name and address of Engineer’s/Procuring Agency’s representative:

KAD Consultants

F-1, Zaib Residency, 70/72/1

Hussain Housing Scheme, Near Summit Bank

WadhuWah, Qasimabad Hyderabad

PH# +92-22-2652274

FAX# +92-22-2652275

E-mail: kad.consultants@hotmail.com

OR

Office of the Project Director, Mehran University of Engineering & Technology, Shaheed Z.A.

Bhutto Campus, Khairpur Mir’s.

4.4 Performance Security:

Contractor has to submit performance security/guarantee equal to 5% (including 2% bid security) of contract amount stated in the letter of acceptance in the shape of bank guarantee as per sample form attached.

5.1 Requirements for Contractor’s design (if any): Bidder to confirm design of all components of the DG set including cables/equipments etc.

7.2 Programme:

Time for submission: Within fourteen (14) days of the Commencement Date.

Form of programme: Bar Chart / CPM/PERT

7.4 Amount payable due to failure to complete shall be 0.05% per day up to a maximum of (10%) of sum stated in the Letter of Acceptance

7.5 Early Completion

Not Applicable

9.1 Period for remedying defects (Defects Liability Period): 18 Months or warranty period whichever is earlier from the effective date of taking over certificate.

10.2 (e) Variation procedures:

Not Applicable

11.1 Terms of Payments

The Contractor shall be paid for Stores in the following manner:

a)   CATEGORY A: Stores Manufactured/Available in Pakistan without involving import.

i.	For all those items of Stores for which the completion certificate has been issued by the University, as stated in Clause 12 above, the University will pay to the Contractor total price of the items quoted by the Contractor.

ii.	The payment for those items of Stores for which the completion certificate has not been issued by the University, as stated in Clause 12 above, will be with held and released only after the damaged items are replaced / repaired,

re-inspected  and  found  in  satisfactory condition  with  consequent  issuance  of  the completion certificate. The payment will be made in the same manner as stated in Clause 13 a) i above

b)        CATEGORY-B        Stores Imported from Approved Countries.

The payment for this category of Stores will be made in two parts as under:-

PART-I.         Payment in Foreign currency

| i. |  | An irrevocable letter of credit of one hundred percent (100%) of the C&F price, in the currency quoted by the Principals, will be opened in a bank in the country of origin in favor of the Principals/Contractor within 30 days after signing the Contract. |
| --- | --- | --- |
| ii. |  | One hundred percent (100%) of the letter of credit amount will be paid against |
|  |  | presentation of the shipping documents to the bank through the above letter of |
|  |  | credit. The required shipping documents include: |
|  |  | Clean on board bill of lading; |
|  |  | Contractor’s detailed invoice showing description of the Stores, specifications, quantity, unit price and total price; |
|  |  | Detailed packing list; |
|  |  | Certificate of origin of the Stores’ and |
|  |  | Certificate of pre-shipment/after-fabrication inspection or authorization to ship the Stores as per Clause-7. |

PART-2.        Payment in Pakistani Rupees

The  Rupee  component  of  the  price  of  the  Stores,  as  stated  in  Clause  9  b)  of

“Instructions to Tenderers” will be paid to the Contractor in the following manner:

i.	For all those items of Stores for which the taking over certificate has been issued by the University, as stated in Clause 10 above, the University will pay to the Contractor seventy percent (70%) of the total price of the items quoted by the Contractor, the remaining thirty percent (30%) will be paid after presentation of the completion certificate, as stated in Clause 12 above.

ii.	The payment for those items of Stores for which the completion certificate has not been issued by the University, as stated in Clause 10 above, will be withheld and released only after the damaged items are replaced/repaired, re-inspected and found in satisfactory condition with consequent issuance of the completion certificate. The payment will be made in the same manner as stated in Clause 13 a) i above

a) Mobilization Advance

Not Applicable.

(i) on submission by the Contractor of a Mobilization Advance Guarantee for the full amount of the Advance in the specified form from a Scheduled Bank in Pakistan to the Procuring Agency;

(ii) Contractor will pay interest on the mobilization advance at the rate of 10% per annum on the advance; and

(iii) This Advance including the interest shall be recovered in 5 equal installments from the first five (05) R.A bills and in case the number of bills is less than five (05) then 1/5th of the advance inclusive of the interest thereon shall be recovered from each bill and the balance together with interest be recovered from the final bill. It may be insured that there  is  sufficient  amount  in  the  final  bill  to  enable  recovery  of  the  Mobilization Advance.

2) Secured Advance on Materials

(a)  The  Contractor  shall  be  entitled  to  receive  from  the  Procuring  Agency  Secured Advance against an INDENTURE BOND in P W Account Form No. 31(Fin.R. Form No. 2 acceptable to the Procuring Agency of such sum as the Engineer may consider proper  in  respect  of  non-perishable  materials  brought  at  the  Site  but  not  yet incorporated in the Permanent Works provided that:

(i) The materials are in accordance with the Specifications for the Permanent Works;

(i)  Such materials have been delivered to the Site and are properly stored and protected against loss or damage or deterioration to the satisfaction and verification of the Engineer but at the risk and cost of the Contractor;

(ii) The Contractor‘s records of the requirements, orders, receipts and use of materials are kept in a form approved by the Engineer, and such records shall be available for inspection by the Engineer;

(iii)The Contractor shall submit with his monthly statement the estimated value of the materials on Site together with such documents as may be required by the Engineer for the purpose of valuation of materials and providing evidence of ownership and payment therefore;

(iv)Ownership of such materials shall be deemed to vest in the Procuring Agency and these materials shall not be removed from the Site or otherwise disposed of without written permission of the Procuring Agency;

(v) The sum payable for such materials on Site shall not exceed 75 % of the (i) landed cost of imported materials, or (ii) ex-factory / ex-warehouse price of locally manufactured or produced materials, or (iii) market price of stands other materials.

Sindh Public Procurement Regulatory Authority |  www.pprasindh.gov.pk                                   58

(vii)	Secured Advance should not be allowed unless &until the previous advance, if an, fully recovered

(viii)  Detailed account of advances must be kept in part II of running account bill and

(ix)    Secured Advance may be permitted only against materials/quantities anticipated to be consumed / utilized on the work within a period of 3 months from the date of issue of secured advance and definitely not for full quantities of materials for the entire work/contract

(b) Recovery of Secured Advance:

(i)	Secured  Advance  paid  to  the  Contractor  under  the  above  provisions  shall  be effected from the monthly payments on actual consumption basis, but not later than period specified in the rules not more than three months (even if unutilized); other conditions.

(ii)	As recoveries are made the outstanding accounts of the items concerned in Part II should be reduced by making deduction entries in the column; ―deduct quantity utilized in work measured since previous bill, equivalent to the quantities of materials used by the contractor on items of work shown as executed in part I of the bill.

(c) Interim payments: The Contractor shall submit to the Engineer monthly statements of the estimated value of the work completed less the cumulative amount certified previously.

(i)	The value of work completed comprises the value of the quantities of the items in the Bill of Quantities completed.

(ii)     Value of secured advance on the materials and valuation of variations (if any).

(iii)		Engineer may exclude any item certified in a previous certificate or reduce the proportion of any item previously certified in any certificate in the light of later information.

(iv)    Retention money and other advances are to be recovered from the bill submitted by contractor.

11.2 *(a) Valuation of the Works:

Measurement of executed quantities at quoted rates.

11.3 Percentage of retention: Ten percent (10%) of the amount of interim/running payment certificate subject to maximum limit of 5% of the contract cost stated in the letter of acceptance.

11.6 Currency of payment: As per class 11.1 above.

14.1 Insurances:

Details are as under

Type of cover

The works

Amount of cover

The sum stated in the letter of acceptance plus fifteen percent

Type of cover

Contractor’s equipment

Amount of cover

Full replacement cost

Type of cover

Third party injury to persons and damage of property

Rupees two lacs per occurrence with the no of occurrences (unlimited).

14.2 Amount to be recovered

Premium plus 10% percent.

15.3 Arbitration

Place of Arbitration MUET, Shaheed Z.A. Bhutto Campus, Khairpur Mir’s

Ph# 0243-9280314, Fax# 0243-9280023

STANDARD FORMS

(Note: Standard Forms provided in this document for securities are to be issued by a bank. In case the bidder chooses to issue a bond for accompanying his bid or performance of contract or receipt of advance, the relevant format shall be tailored accordingly without changing the spirit of the Forms of securities).

Sindh Public Procurement Regulatory Authority | www.pprasindh.gov.pk                                                  61

FORM OF BID SECURITY

(Bank Guarantee)

(Letter by the Guarantor to the Procuring Agency)

Guarantee No. 	 Executed on

Name of Guarantor (Scheduled Bank in Pakistan) with

address: 	 Name of Principal (Bidder) with

address:

Sum of Security (express in words and

figures):

Bid Reference No.                                                       Date of Bid

KNOW ALL MEN BY THESE PRESENTS, that in pursuance of the terms of the Bid and at the request of the said Principal, we the Guarantor above-named are held and firmly bound unto   the                                                                                           ,   (hereinafter   called   The

―Procuring Agency‖) in the sum stated above, for the payment of which sum well and truly to be made, we bind ourselves, our heirs, executors, administrators and successors, jointly and severally, firmly by these presents.

THE CONDITION OF THIS OBLIGATION IS SUCH, that whereas the Principal has submitted     the     accompanying     Bid     numbered     and     dated     as     above     for

(Particulars of Bid) to the said Procuring

Agency; and

WHEREAS, the Procuring Agency has required as a condition for considering the said Bid that the Principal furnishes a Bid Security in the above said sum to the Procuring Agency, conditioned as under:

(1)	that the Bid Security shall remain valid for a period of twenty eight (28) days beyond the period of validity of the bid;

(2)       that in the event of;

(a)       the Principal withdraws his Bid during the period of validity of Bid, or

(b)	the Principal does not accept the correction of his Bid Price, pursuant to Sub- Clause 16.4 (b) of Instructions to Bidders, or

(c)       failure of the successful bidder to

(i)	furnish the required Performance Security, in accordance with Sub- Clause IB-21.1 of Instructions to Bidders, or

(ii)	sign  the  proposed  Contract  Agreement,  in  accordance  with  Sub- Clauses IB-20.2 & 20.3 of Instructions to Bidders,

the  entire  sum  be  paid  immediately  to  the  said  Procuring  Agency  for  delayed completion and not as penalty for the successful bidder's failure to perform.

NOW THEREFORE, if the successful bidder shall, within the period specified therefore, on the prescribed form presented to him for signature enter into a formal Contract Agreement with the said Procuring Agency in accordance with his Bid as accepted and furnish within fourteen (14) days of receipt of Letter of Acceptance, a Performance Security with good and sufficient surety , as may be required, upon the form prescribed by the said Procuring Agency for the faithful performance and proper fulfilment of the said Contract or in the event of non- withdrawal of the said Bid  within the time specified then this obligation shall be void and of no effect, but otherwise to remain in full force and effect.

PROVIDED THAT the Guarantor shall forthwith pay to the Procuring Agency the said sum stated above upon first written demand of the Procuring Agency without cavil or argument and without requiring the Procuring Agency to prove or to show grounds or reasons for such demand, notice of which shall be sent by the  Procuring Agency by registered post duly addressed to the Guarantor at its address given above.

PROVIDED  ALSO  THAT  the  Procuring  Agency shall  be  the  sole  and  final  judge  for deciding  whether  the  Principal  has  duly performed  his  obligations  to  sign  the  Contract Agreement and to furnish the requisite Performance Security within the time stated above, or has defaulted in fulfilling said requirements and the Guarantor shall pay without objection the sum stated above upon first written demand from the Procuring Agency forthwith and without any reference to the Principal or any other person.

IN WITNESS WHEREOF, the above bounded Guarantor has executed the instrument under its seal on the date indicated above, the name and seal of the Guarantor being hereto affixed and these presents duly signed by its undersigned representative pursuant to authority of its governing body.

Guarantor (Bank) Witness:                                                                  1. Signature

1.                                                                             2. Name

Corporate Secretary (Seal)

2.

3. Title

(Name, Title & Address)                                            Corporate Guarantor (Seal)

FORM OF PERFORMANCE SECURITY (Bank Guarantee)

Guarantee No. 	 Executed on  	 Expiry Date

(Letter by the Guarantor to the Procuring Agency) Name of Guarantor (Scheduled Bank in Pakistan) with

address: 	 Name of Principal (Contractor) with

address:

Penal Sum of Security (express in words and

figures)

Letter of Acceptance No.                                                                 Dated

KNOW ALL MEN BY THESE PRESENTS, that in pursuance of the terms of the Bidding Documents and above said Letter of Acceptance (hereinafter called the Documents) and at the request of the said Principal we, the Guarantor above named, are held and firmly bound unto the                                                                                                          (hereinafter   called   the Procuring Agency) in the penal sum of the amount stated above, for the payment of which sum well and truly to be made to the said Procuring Agency, we bind ourselves, our heirs, executors, administrators and successors, jointly and severally, firmly by these presents.

THE  CONDITION  OF  THIS  OBLIGATION  IS    SUCH,  that  whereas  the  Principal  has accepted   the   Procuring   Agency's   above   said      Letter   of      Acceptance   for

(Name of Contract) for the

(Name of Project).

NOW THEREFORE, if the Principal (Contractor) shall well and truly perform and fulfill all the undertakings, covenants, terms and conditions of the said Documents during the original terms of the said Documents and any extensions thereof that may be granted by the Procuring Agency, with or without notice to the Guarantor, which notice is, hereby, waived and shall also well and truly perform and fulfill all the undertakings, covenants terms and conditions of the Contract and of any and all modifications of the said Documents that may hereafter be made, notice of which modifications to the Guarantor being hereby waived, then, this obligation to be void; otherwise to remain in full force and virtue till all requirements of Clause 9, Remedying Defects, of Conditions of Contract are fulfilled.

Our total liability under this Guarantee is limited to the sum stated above and it is a condition of any liability attaching to us under this Guarantee that the claim for payment in writing shall

be received by us within the validity period of this Guarantee, failing which we shall be discharged of our liability, if any, under this Guarantee.

We,                                                                           (the Guarantor), waiving all objections  and defenses under the Contract, do hereby irrevocably and independently guarantee to pay to the Procuring Agency without delay upon the Procuring Agency's first written demand without cavil or arguments and without requiring the Procuring Agency to prove or to show grounds or reasons for such demand any sum or sums up to the amount stated above, against the Procuring Agency's written declaration that the Principal has refused or failed to perform the obligations under the Contract, for    which payment will be effected by the Guarantor to Procuring Agency‘s designated Bank & Account Number.

PROVIDED  ALSO  THAT  the  Procuring  Agency shall  be  the  sole  and  final  judge  for deciding whether the Principal (Contractor) has duly performed his obligations under the Contract or has defaulted in fulfilling said obligations and the Guarantor shall pay without objection any sum or sums up to the amount stated above upon first written demand from the Procuring Agency forthwith and without any reference to the Principal or any other person.

IN WITNESS WHEREOF, the above bounded Guarantor has executed this Instrument under its seal on the date indicated above, the name and corporate seal of the Guarantor being hereto affixed and these presents duly signed by its undersigned representative, pursuant to authority of its governing body.

Witness:

1.

Guarantor (Bank)

1.    Signature

Corporate Secretary (Seal)

2.    Name

3.    Title

2.

(Name, Title & Address)                                        Corporate Guarantor (Seal)

FORM OF CONTRACT AGREEMENT

THIS CONTRACT AGREEMENT (hereinafter called the ―Agreement‖) made on the

day of                   200            between                                                     (hereinafter called the

―Procuring   Agency‖)   of   the   one   part   and

―Contractor‖) of the other part.

(hereinafter   called   the

WHEREAS the Procuring Agency is desirous that certain Works, viz   	 should be executed by the Contractor and has accepted a Bid by the Contractor for the execution and completion of such Works and the remedying of any defects therein.

NOW this Agreement witnesseth as follows:

1.	In  this  Agreement  words  and  expressions  shall  have  the  same  meanings  as  are respectively assigned to them in the Conditions of Contract hereinafter referred to.

2.	The  following  documents  after  incorporating  addenda,  if  any  except  those  parts relating to Instructions to Bidders, shall be deemed to form and be read and construed as part of this Agreement, viz:

(a)      The Letter of Acceptance;

(b)     The completed Form of Bid along with Schedules to Bid; (c)      Conditions of Contract & Contract Data;

(d)     The priced Schedule of Prices/Bill of quantities (BoQ); (e)      The Specifications; and

(f)      The Drawings

3.	In  consideration  of  the  payments  to  be  made  by  the  Procuring  Agency  to  the Contractor as hereinafter mentioned, the Contractor hereby covenants with the Procuring Agency to execute and complete the Works and remedy defects therein in conformity and in all respects within the provisions of the Contract.

4.	The Procuring Agency hereby covenants to pay the Contractor, in consideration of the execution and completion of the Works as per provisions of the Contract, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS WHEREOF the parties hereto have caused this Contract Agreement to be executed on the day, month and year first before written in accordance with their respective laws.

Signature of the Contactor                                         Signature of the Procuring Agency

(Seal)                                                                          (Seal)

Signed, Sealed and Delivered in the presence of:

Witness:                                                                      Witness:

(Name, Title and Address)                                         (Name, Title and Address)

MOBILIZATION ADVANCE GUARANTEE

(Letter by the Guarantor to the Procuring Agency)

Guarantee No. 	 Executed on

WHEREAS   the                                                                                                        (hereinafter called       the       Procuring      Agency)       has       entered       into       a      Contract       for

(Particulars  of  Contract),  with

(hereinafter called the Contractor).

AND WHEREAS the   Procuring Agency has agreed to advance to the Contractor, at the

Contractor‘s      request,      an      amount      of      Rs.                                                Rupees

) which amount shall be advanced to the Contractor as per provisions of the Contract.

AND WHEREAS the Procuring Agency has asked the Contractor to furnish Guarantee to secure the advance payment for the performance of his obligations under the said Contract.

AND WHEREAS                                                                                           (Scheduled Bank) (hereinafter called the Guarantor) at the request of the Contractor and in consideration of the Procuring Agency agreeing to  make the above advance to the Contractor, has agreed to furnish the said Guarantee.

NOW  THEREFORE  the  Guarantor  hereby  guarantees  that  the  Contractor  shall  use  the advance for the purpose of above mentioned Contract and if he fails, and commits default in fulfillment of any of his obligations for which the advance payment is made, the Guarantor shall  be  liable  to  the  Procuring  Agency for  payment  not  exceeding  the  aforementioned amount.

Notice in writing of any default, of which the Procuring Agency shall be the sole and final judge, as aforesaid, on the part of the Contractor, shall be given by the Procuring Agency to the Guarantor, and on such first written demand payment shall be made by the Guarantor of all sums then due under this Guarantee without any reference to the Contractor and without any objection.

This Guarantee shall come into force as soon as the advance payment has been credited to the account of the Contractor.

This Guarantee shall expire not later than

by which date we must have received any claims by registered letter, telegram, telex or telefax.

It is understood that you will return this Guarantee to us on expiry or after settlement of the total amount to be claimed hereunder.

Guarantor (Scheduled Bank) Witness:

1.                                                                          1.    Signature

Corporate Secretary (Seal)

2.    Name

3.    Title

2.

(Name, Title & Address)                            Corporate Guarantor (Seal)

INDENTURE FOR SECURED ADVANCES.

(For use in cases in which is contract is for finished work and the contractor has entered into an agreement for the execution of a certain specified quantity of work in a given time ).

This INDENTURE made the ............... ...........................     day of ......................

-----  ....... ---------- ........-197--"-     BETWEEN            (hereinafter   called   "the Contractor" which expression shall where the context so admits or implied be deemed to include  his  heirs,  executors,  administrators  and  assigns)  of  the  one  part  and  THE GOVERNOR OF SINDH (hereinafter called "the Government" of the other part).

WHEREAS by an agreement, dated                             (hereinafter  called the said agreement, the contractor has agreed to perform  the under-mentioned works (hereinafter referred to as the said work):-

(Here enter (the description of the works).1

AND WHEREAS the contractor has applied to the ........... ................... ..............

— ....... ----- for an advance to him of Rupees -----------------------------------------------------. (Rs. ..................) on the security of materials absolutely belonging to him and brought by

him  to  the site of the  said  works  the  subject  of the said  agreement  for use  in  the construction of such of the said works as he has undertaken to execute at rates fixed for the finished work (inclusive of the cost of materials and labour and other charge) AND WHEREAS the Government has agreed to advance to the Contractor the sum of Rupees,

(Rs. ...................... ) on the security of materials the quantities and other particulars of which are detailed in Part II of Running Account Bill (E). the said works signed by the contractor

Fin R.Form.l7.A

on----------- ....... — and on such covenants and conditions as are hereinafter contained and the Government has reserved to itself the option of marking any further advance or advances on the security of other materials brought by the Contractor to the site of the said works.

NOW  THIS  INDENTURE  WTTNESSETH     that  in  pursuance  of the  said agreement and in consideration of the sum of Rupees ........... ------------- ...... - ........— ......

(Rs.   ------ ...... ----- ) on or before the execution of these presents paid to the Contractor

by the Government (the receipt whereof the Contractor doth hereby acknowledge) and of such further advances (if any) as may be made to him as aforesaid (all of which advances are hereinafter collectively referred to as the said amount) the Contractor doth hereby assign unto the Government the said materials by way of security for the said amount

follow :-

And doth hereby covenant and agree with the Government and declare ay

(1)      That the said sum of Rupees .........- ................ ------------- ...... -------------- (RF. ------------------- ) so advanced by the Government to the Contractor as aforesaid and

all or any further sum or sums which may be advanced aforesaid shall be employed by the

contractor in or towards expending the execution of the said works and for no other purpose whatsoever.

(2)        That the materials detailed in the said Running Account Bill (B) which have been

Fin R Form No. 17-A

Offered to and accepted by (he Government as security for the said amount are absolutely by the Contractors own property free from encumbrances of any kind and the Contractor will not make any application for or receive a further advance on the security of materials which are not absolutely his own property and free from encumbrances of any kind and the contractor hereby agrees, at all times, to indemnify and save harmless the Government against all claims whatsoever to any materials in respect of which an advance has been made to him as aforesaid.

(3)       That the said materials detailed in the said Running Account Bill (B) and all other

Fin. R. Form No. 17-A

Materials on the security of which any further advance or advances may hereafter be made as aforesaid (hereinafter called the said materials) shall be used by the Contractor solely in the execution of the said works in accord ance with the directions of the

Divisional Officer ---------------------------(hereinafter called the Divisional Officer) and in the terms of the said agreement.

(4)         That the Contractor shall make at his own cost all necessary and adequate arrangement for the proper watch, safe custody and protection against all risks of the said material and that until used in construction as aforesaid the said materials shall remain at the site of the said works in the Contractor's custody and at his own risk and on his own responsibility and shall at all times be open to inspection by (he Divisional Officer or any officer authorized by him. In the event of the said materials of any part (hereof being stolen, destroyed or damaged or becoming deteriorated in a grater degree than is due to reasonable use and wear thereof Contractor will forthwith replace the same with other materials of like qualify or repair and make good the same as required by the Divisional Officer and the materials so brought to replace the said materials so repaired and made good shall also be considered as security for the said amount.

(5)       'Hurt the said materials shall not on any account be removed from the site of the said works  except  with  the  written  permission  of  the  Divisional  Officer  or  an  officer authorized by him in that behalf

(6)       That   the   said   amount  shall   be  payable   in   full   when   or before the Contractor receives payment, from the Government of the price payable to him for the said works under  the  terms  and  provisions  of  the  said  agreement  PROVIDED  THAT     if  any intermediate payments are made to the contractor on account of work done then on  the occasion    of each such payment the Government will be at liberty to make a recovery from the Contractors Bill for such payment by deducting there from in the value of the said materials (hen actually used in the construction and in respect of which recovery has not been made previously the value for this purpose being determined in respect of each description of material at (he rates at which the amount of the advances made under these presents were calculated.

(7)       That   if  the   Contractor   shall   at   any  time   make   any   default   in   the performance or observation in any respect of any of the terms and provisions of the said agreement or of these presents the total amount of the advance or advances that may still be owing  to  the    Government  shall    immediately  on  the  happening  of  such  default  be repayable by the Contractor to the Government together with interest thereon at twelve

percent per annum from the date or respective dates of such advance or advances to the date or repayment and with all costs, charges, damages and expenses incurred by the Government   in    or for   the   recovery   thereof or the   enforcement   of this   security  or otherwise by reason of (he default of the Contractor and any moneys so becoming due and payable shall constitute a debt due from the Contractor to the Government and the Contractor hereby covenants and agrees with the Government to repay and the same respectively to it accordingly.

(8)       That   the   Contractor   hereby  charges   all   the    said materials   with the repayment to the Government of the said sum of Rupees ........................ - ............................. (Rs....................... ) and any further sum or sums which may be advanced as aforesaid and

a l l   costs  charges  damages  and  expenses  payable  under  these  present  PROVIDED ALWAYS and it is hereby agreed and declared that not withstanding anything in the said agreement  and  without  prejudice  to  the  powers  contained  therein  if  and  whether  the covenant for payment and repayment hereinbefore contained shall become enforceable and the money owing shall not be paid to accordingly.

Once therewith the Government may at any time thereafter adopt all or any of following courses as it may deem best ;-

(a)       Seize and utilize the said materials or any part thereof in the completion of the said    works      on    behalf  of  the    Contractor    in    accordance    with  the provisions      in  that  behalf  contained  in  the said  agreement  debiting the Contractor with the actual cost of effecting such completion the amount due in	respect     of advances     under   these     presents     and     crediting   the Contractor with the value     of work done as he had carried it out in accordance with the said agreement and at the rates thereby provided. If the balance   is   against the   Contractor he   is to pay the same to the Government on demand.

(b)	Remove and sell by public auction the seized materials or any part thereof and out  of  the  moneys  arising  from  the  sale  retain  all  the  sums  aforesaid repayable to the Government under these presents and pay over th e surplus (if any) to the Contractor.

(c)        Deduct all or any part of the moneys owing out of the security deposit or any sum due to the Contractor under the said agreement.

(9)        That except as is expressly provided by the presents interest on the aid advance shall not be payable.

(10)        That in the event of any conflict between the provisions of these presents and the said agreement the provisions of these presents shall prevail and in the event of any dispute or difference arising over the construction or effect of these presents the settlement of which has not been hereinbefore expressly provided for the same shall be

referred to the Superintending Engineer ..................................... Circle whose…………….

decision shall be final and the provisions of the Indian Arbitration Act for the time being in force so far as they are applicable shall apply to any such reference.

In witnesses whereof the* ----- - — _ _ .................................... on     behalf    of   the Governor of Sindh and the said ................. — ........................... - .......... --have hereunto set their respective hands and seals the day and first above written.

Signed, sealed and delivered by* In the presence of

Seal

1st witness 2nd witness

Signed, sealed and delivered by* In the presence of

Seal

1st Witness 2nd witness

SPECIFICATION FOR ELECTRICAL WORKS

Sindh Public Procurement Regulatory Authority |  www.pprasindh.gov.pk                                   74

Specifications for DG Set of 100kVA Prime Power, 230/400 VAC, 50 Hz, 0.8 PF (Lagging), 3 Phase

(For other capacity of prime powers, specs shall commensurate to given as below)

|  | Standby | Prime |
| --- | --- | --- |
| Governor regulation class | ISO8528 G3 (equal to or less than 3%) |
| Voltage regulation (no load to full load) | ±1% |
| Steady-state voltage variation | ±1% |
| Frequency regulation (no load to full load) | Isochronous（0%） |
| Steady-state frequency variation | ±0.25% |
| EMC compatibility | BS EN 61000-6-4 / BS EN 61000-6-2 |
| Fuel consumption, g/kw·h(L/hr)@100% load | 212(30) | 211(27) |
| Battery starting capacity, A/hr | 100*2 |
| Total coolant capacity (with engine and water tank), L | 36 |
| Base type fuel tank (Liters capacity) | 250 |

Engine Specifications

| No: of Cylinders | 06 |
| --- | --- |
| Configuration | Cast iron, in-line, 6-cylinder |
| Displacement, L | 5.9 |
| Compression ratio | 17.3:1 |
| Aspiration | Turbocharged and water-to-air aftercooled. |
| Fuel system | Direct injection |
| Bore* stroke, mm | 102*120 |
| Rated speed, rpm | 1500 |
| Governor type | Electronic |
| Starting voltage | 24V, negative ground |
| Battery charging alternator | 24V,40A |
| Cold starting current, CCA | 400 (-12℃) |
| Lube oil capacity, L | 16 |
| Combustion air (standby), m³/s | 0.12 |
| Coolant capacity, L | 10 |
| Maximum fuel flow, L/hr | 30 |
| Maximum fuel inlet resistance, mmHg | 13.6 |

Alternator Specifications

| Protection class | IP23 |
| --- | --- |
| Insulation system | Class H |
| Standard temperature rise | Standby, 150℃（at 40℃ ambient temperature） |
| Exciting type | Self-exciting |
| AC waveform total harmonic distortion | <1.5% no load, <5% 3-phase balanced linear load |
| Telephone influence factor（TIF） | <50（per NEMA MG1-22.43） |
| Telephone harmonic factor（THF） | <2% |

Exhaust Specifications

|  | Standby | Prime |
| --- | --- | --- |
| Exhaust gas flow at rated load, L/S | 334 | 305 |
| Exhaust gas temperature, ℃ | 570 | 540 |
| Maximum exhaust back pressure, kPa | 10 |

Cooling System Specifications

| Radiator ambient design, ℃ | 50 |
| --- | --- |
| Minimum air inlet (outlet) area, ㎡ | 0.87（0.7） |
| Radiator tank capacity, L | 26 |
| Radiator cooling air flow(standby), m³/s | 3.8 |
| Total heat rejection, kW | 18.5 |
| Maximum cooling air flow static resistance, Pa | 124.5 |

Sindh Public Procurement Regulatory Authority | www.pprasindh.gov.pk                                          75

SPECIAL NOTES

Sindh Public Procurement Regulatory Authority |  www.pprasindh.gov.pk                                   76

SPECIAL NOTES

1.   All the quantities related with cables given in Bill of Quantities are approximate. It is the responsibility of the Contractor to determine the actual quantities. Payment shall be made against the quantities actually executed at site according to measurement.

2.   The contractor will place the order for all the material to be used at site and in his scope of works well in time so that delivery of these materials should not affect the schedule of completion of works. No excuse for the late delivery of the materials by other manufacturers shall be accepted in this regard.

3.   Connections on both sides of the cables shall be performed.

4.   The contractor shall include in his rates the cost of the cable accessories such as copper lugs, glands, cable end box etc, wherever required. Increase in rate(s), will not be possible after approval of the rate(s) and during execution of works.

5.   For extra works carried out according to instructions of the Client and/or Consultants, or their representatives, the rates claimed for these works will be approved by the Client/Consultants after mutual discussion with contractor.

6.   Quoted Tender documents, Tender Drawings and Addendum (if any) etc, shall be submitted on the date Tender opening.

7.   Contractors/Bidders  are  advised  to  visit  and  understand  the  quantum  of  works unvalued in existing areas before filling the BOQ

8.   Contractors/Bidders may contact Consultants for clarification of each and every query before filling the BOQ. No alteration in the rates will be entertained after submission / approval of the Tender documents.

9.   Contactor is required to submit list of materials required from owner, such as Power Plug etc and get the same from the owner. If the total quantity is not available with client then acquire partial quantities from client and partial from market as per site condition

Sindh Public Procurement Regulatory Authority |  www.pprasindh.gov.pk                                   77

BILL OF QUANTITIES

Sindh Public Procurement Regulatory Authority |  www.pprasindh.gov.pk                                   78

May 14, 2015                                                                                                                                                                KADCONS.

BOQ for Supply and Installation of 3x (Prime Power 100kVA - 130kVA) Diesel Generator Set at Mehran University of Engineering & Technology, Shaheed Z.A. Bhutto Campus, Khairpur Mir's

| MAIN SUMMARY |
| --- |
| S. No. | Description | Amount (Rs.) |
| 1 | Section-1: Supply and Installation of 3x ( Prime Power 100kVA - 130kVA) Diesel Generator Set [Non-Scheduled Items] | Rs. |  |

TOTAL AMOUNT   Rs.

Amount in words (PKR)

SIGNATURE OF BIDDER                                                                                  SEAL OF BIDDER

79

Section-1: Supply and Installation of 3x (Prime Power 100kVA - 130kVA) Diesel Generator Set [Non-Scheduled Items]

| S. #. | Item Description | Qty. | Unit | Unit Price (Inclusive of all Taxes) (Rs.) | Total Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
|  | Providing, installing, testing and commissioning of following items as per specification and direction of Engineer Incharge: |
| 1. | 100kVA - 130kVA (nearest to 100kVA rated prime power capacity) Prime Rating Diesel Generator of following make Cummins, F.G. Wilson, Caterpillar or equivalent as approved by Engineer Incharge with Certificate from Head Office of manufacturer that source of equipment & assembly is one i.e. owned by manufacturer. | 3 | Set |  |  |
| 2. | Canopy for 100kVA - 130kVA (nearest to 100kVA rated prime power capacity) Prime Rating Diesel Generator (Make: To be specified by bidder). | 3 | Nos |  |  |
| 3. | ATS System panel (Automatic Transfer Switch) Make & Model: To be specified by bidder. | 3 | Nos |  |  |
| 4. | Supply of MOR (Manual Overwrite/ Manual Selector Switch) | 3 | Nos |  |  |
| 5. | 01x1500L Fuel Tank (Plastic - quality to be specified by bidder) | 3 | Nos |  |  |
| 6. | Fuel piping with dia 1’’ (Plastic - quality to be specified by bidder) | 45 | Ft. |  |  |
| 7. | Piping accessories such as 03x By pass valve arrextra valve , 1 flexible all having dia 1’’ | 3 | Nos |  |  |
| 8. | Supply and Installation of Power Cable 70mm 04 Cores. (of copper, Make: Pakistan cable or equivalent as approved by Engineer Incharge). Complete with all respects. | 150 | Mtr. |  |  |
| 9. | Supply and Installation of Control Cable 2.5mm 04 Cores. (of copper, Make: Pakistan cable or equivalent as approved by Engineer Incharge). Complete with all respects. | 150 | Mtr. |  |  |
| 10. | Earth Complete with Material Rod Type, complete in all respect (as per design/drawing). | 6 | Job |  |  |
| 11. | Genset Foundation Pad at Ground. Size. 9’ X 4’ X 6”. Using concrete of ratio 1:2:4 Complete in all respect. | 3 | Job |  |  |
| 12. | Fabrication, Installation of Security Grill/ Cage (Approx. Weight: 600 Kg) of 142''x90''x74'' (LxWxH) with single door (with hinges on both sides/ opening cut at the middle duly fixed with two slots for fixing lock) on one side of Iron Grill/cage having dimensions of 90''x74'' (WxH). The side walls of the grill shall consist of Iron Square bars of reasonable size at reasonable distance from eachother on all the four sides of grill area as well as whole pass at the four corners of the grill to be grouted in the ground.(Over all weight shall not be less than 600 kg) For roof, steel zigzag sheet shall be securily fixed by J Bolts/U Bolts etc (duly welded) to make roof of the grill. Roof shall be in a slanty position by raising 1'' to 2'' height from door side so that rainy water pour away on rear side of cage. | 3 | Job |  |  |
| 13. | Supply of kWH Meter / Energy meter, as approved by Engineer Incharge. | 3 | Nos |  |  |
| 14. | Transportation Charges upto S.Z.A. Bhutto Campus of MUET, Khairpur Mir's. | 3 | Nos |  |  |

80

| 15. | Testing and commissioning of all equipments as above, complete in all respects. | 3 | Nos |  |  |
| --- | --- | --- | --- | --- | --- |

Total Amount of SECTION-1 Non-Scheduled Items

Rs.

SIGNATURE OF BIDDER

SEAL OF BIDDER

81

# Text boxes

6

26

27

29

32

33

35

Sindh Public Procurement Regulatory Authority | www.pprasindh.gov.pk

36

Sindh Public Procurement Regulatory Authority | www.pprasindh.gov.pk

37

Sindh Public Procurement Regulatory Authority | www.pprasindh.gov.pk

38

Sindh Public Procurement Regulatory Authority | www.pprasindh.gov.pk

39

Sindh Public Procurement Regulatory Authority | www.pprasindh.gov.pk

55

56

57